Yemen Water Sector

Damage Assessment Report of Twelve Urban Local Water Supply and Sanitation Corporations in Yemen – Stage IV

Part 2: Situational Assessment Report

Annex 7 - Technical Assessment Report for Al-Mukalla LC

October 2023

TABLE OF CONTENTS

1.1	Hadramaout Governorateand Al-Mukalla	14

1.2	General information of the LC Al-Mukalla	14

1.3	Methodology of assessment	17

2.1	Organizational Structure	18

2.1.1	Board of Directors/Advisory Committee	18

2.1.2	Organization Structure and Governance	19

2.1.3	Most important problems related to governance and organizational structure	19

2.1.4	Interaction of authorities with institution/branch	20

2.1.5	Governance criteria	20

2.1.6	Strategic resilience	22

2.2	Assessment of human resource management	22

2.2.1	Staff Situation and Salary 	22

2.2.2	HR general information, procedures and reporting	24

3.1	Financial management	25

3.1.1	General data on financial management	25

3.2	Budget (Recurrent, Revenues, Expenses, Aid and Liabilities)	26

3.2.1	Recurrent Budget	26

3.2.2	Revenues, Expenses and Liabilities	28

3.2.3	Financial Liability (Payable amount)	29

3.3	Financial Data	30

3.3.1	Financial Efficiency and Support	30

3.3.2	Bank Account Data and Cash Flow	30

3.3.3	Financial sources, subsidies and support	31

4.1	Customers Data and Reporting	32

4.1.1	Customer and Connection Data	32

4.2	Billing, Collection, and Complaint Procedures:	32

4.2.1	Billing and Collection Procedures	33

4.2.2	The key steps and responsibilities involved in service interruption or disconnection procedures:	34

4.2.3	Problems and Development Needs in Customer Management Procedures	34

4.2.4	Planned Technical Assistance Needs Related to Customer Services and Relations:	35

4.2.5	Proposed Technical Assistance and investment Measures Related to Improving Procedures and Operations of Customer Management	35

4.2.6	Billing & Collection data	36

4.3	Tariff structure according to customer type and consumption	38

5.1	IT and Office Resources	40

5.2	Data security and management	45

5.3	Needs for IT and related office equipment	46

5.4	Proposed TA and investment measures for improving IT management	46

6.1	Gender Issues within the Institution/Branch	48

6.1.1	Administrative and organizational status of gender	48

6.1.2	Presence of Women in Decision-Making Positions in the Institution/Branch	48

6.1.3	Special Services and Facilities for Women within the Institution/Branch	49

6.1.4	Women's Participation Procedures in Decision-Making	49

6.1.5	Technical assistance needs to improve gender issues	49

6.2	Public water and sanitation services for individuals with special needs	50

6.2.1	Water distribution points	50

6.2.2	Public opinion about water and sanitation services	50

6.2.3	Status of Water and Sanitation Supplies in Public Places and Buildings	50

6.2.4	Problems of water supply and sanitation services	51

6.2.5	Improvement of Water Supply and Sanitation	51

6.2.6	Women's effective participation in decision-making within the water and sanitation sector	52

6.2.7	Considering Gender and Persons with Disabilities in the Design of Water and Sanitation Systems	52

6.2.8	Attention to Reuse Concepts	53

6.2.9	Donor Activities Related to Gender Issues	53

7.1	Water Supply and Infrastructure System	54

7.1.1	General Situation	54

7.1.2	Water production, distribution, supply system	54

7.1.3	Infrastructure	56

7.1.4	Quality and management	63

7.1.5	Non-Revenue Water	64

7.2	Sanitation system	64

7.2.1	General data of the wastewater system, sewer network 	64

7.2.2	Sewage treatment plants and design standards	68

7.2.3	Operation management of a sewage treatment station	68

7.3	Operation and Maintenance	68

7.3.1	Operation and Maintenance (O&M) management 	68

7.4	Energy Supply	76

7.4.1	General information and data on energy sources for water supply system 	76

7.4.2	General information and data on energy sources for sanitation system	79

7.4.3	Energy sources for water sources and wells	80

7.4.4	Operational data of the LC energy generation station	83

7.4.5	Energy consumption data 	83

7.4.6	Quantities of diesel supplied to and consumed from the storage facilities	84

8.1	Recommendations and Costs for TA Measures (TA Plan)	85

8.1.1	Methodology and Structure of TA Plan	85

8.1.2	TA measures	85

8.1.3	Awareness Building	89

8.1.4	Technical Assistance Plan	90

8.2	Prioritized Investment Plan	92

Appendices………………………………………………………………………………...…………98

FIGURES

Figure 1.1: Al-Mukalla Location Map	16

Figure 2.1: Share of staff members (in No.) per department	23

Figure 7.1: Average water production in m3/day for the years (2017 - 2022)	55

TABLES

Table 0.1: Obstacles and recommendations for institutional measures	5

Table 0.2: Cost estimates on TA intervention	5

Table 0.3: Brief description of recommended rehabilitation measures for water and sanitation infrastructures	12

Table 0.4: Cost estimation on investment measures	13

Table 1.1: List of affiliated utilities and branches to NWSA/LC serving in the same geographical area (governorate)	14

Table 1.2: Population Growth in LC Al-Mukalla	15

Table 2.1: Implemented technical assistance related to governance	20

Table 2.2: Staff number and attendance	23

Table 3.1: Recurrent budget for years (2017-2022)	27

Table 3.2: Revenues, recurrent costs	28

Table 3.3: Financial liabilities in 2022 	29

Table 3.4: Financial Overview for the years (2017 – 2022)	30

Table 3.5: Bank account details	30

Table 3.6: Financial subsidies from donor relief organizations	31

Table 4.1: Water and Sewer connections per customer category in 2022	32

Table 4.2: Problems and Development Needs in Customer Management Procedures	34

Table 4.3: Technical Assistance and investment Measures for customer management	35

Table 4.4: Billing and collection amount per customer category	37

Table 4.5: Approved tariff structure	38

Table 4.6: Water production cost versus tariff	38

Table 5.1: Information technology applications and software	44

Table 5.2: External IT support (2017-2022)	45

Table 5.3: Information technology and office needs for devices and equipment	46

Table 5.4: Proposed TA and investment measures	47

Table 6.1: Proposed TA and investment measures for gender issues	49

Table 6.2: Special Needs Related to Water and Sanitation Services	52

Table 7.1: Information on administrative buildings	57

Table 7.2: Overview of available water infrastructure	58

Table 7.3: Details of existing water supply network	60

Table 7.4: Details of water sterilization units	62

Table 7.5: Water balance for the years (2017-2022)	64

Table 7.6: General data of the sewerage system	66

Table 7.7: Sewer network components	67

Table 7.8: Tools, Equipment, and Heavy Transport	75

Table 7.9: Electrical power of water supply system	78

Table 7.10: Electrical power of sanitation system	79

Table 7.11: Electrical transformers data	80

Table 7.12: Diesel generators data	81

Table 7.13: Solar system data	82

Table 7.14: Energy consumption for 2017 and 2022	83

Table 7.15: Quantities of diesel supplied to and consumed from the storage facilities for the years 2017 to 2022	84

Table 8.1: Obstacles and recommendations for institutional measures	89

Table 8.2: Cost estimates on TA interventions	91

Table 8.3: Obstacles and recommendations for Infrastructure Assessment and Rehabilitation Measures	96

Table 8.4: Cost estimation on investment measures	97

Abbreviations

ABR		Anaerobic Baffled Reactor

BMZ		German Ministry of Economic Cooperation and Development

BoD		Board of Directors

BoQ		Bills of Quantities

CAC		Cooperative Agricultural Credit (Bank)

CBO		Community Based Organization

COCA		Central Organization for Control and Auditing

DAS		Damage Assessment Study

DCI		Ductile Cast Iron

DI 		Ductile Iron

EM		Electro-mechanical

USD		USD

FC		Financial Cooperation

GI		Galvanized Iron

GDP		Gross Domestic Product

GIZ		Gesellschaft für Internationale Zusammenarbeit GmbH

GoY		Government of Yemen

HR		Human Resources

HRDU		Human Resource Development Unit

INGO		International Non-Governmental Organisation

ICRC		International Committee of the Red Cross

IDP		Internally Displaced People

IT		Information Technology

JAR		Joint Annual Review

KfW		Kreditanstalt für Wiederaufbau

LAC		Local Advisory Committee

LC		Local Corporations

MoCS		Ministry of Civil Service

MoF		Ministry of Finance

MoM		Minutes of Meeting

MWE		Ministry of Water and Environment

NRC		Norwegian Refugee Council

NRW		Non revenue water

NWRA		National Water Resource Authority

NWSA		National Water and Sanitation Authority

NWSSIP	National Water Sector Strategy and Investment Plan

OMS		Operation Management Support

O&M		Operation and Maintenance

PIIS		Performance Indicator Information System

PVC		Polyvinylchloride

QF		Questionnaire forms (DAS Stage III)

St, ST		Steel

TA		Technical Assistance

TFPM		Task Force on Population Movement

UN		United Nations

USD, U$	American Dollar

WASH		Water, Sanitation and Hygiene

WFP		World Food Programme

WSP		Water Sector Programme in the Republic of Yemen

WSLC		Water and Sanitation Local Corporation

WU		Water Utilities

WWTP		Wastewater Treatment Plant

YER, YR	Yemen Rial

Units

LS		lump sum

m		meter

Mio		million

masl		meter above sea level

mg/l		Milligram per litre

m³/d		Cubic meters per day

lpcd		litre per capita per day

no, nos	number (numerical figure)

# Executive Summary for LC Al-Mukalla

From the 449,193 residents in LC Al-Mukalla in 2022, about 92 % respective Al-Mukalla people are supplied through 7 supply zones and 7 hours per day of water supply, with 49 operational wells and nominal water production capacity of 62,239 m3/d. There are about 3,100 residents whom served by private sector (mobile tanks), while about 63.9 % respective Al-Mukalla people are served through the public sewer network and none are served by other providers.

- Institutional Assessment and Recommended Technical Assistance Measures (TA Plan) for LC Al-Mukalla

The LC Al-Mukalla, established in 2006. The utility employs in its 11 departments plus auxiliary unit in total 1165 staff members. Customer complaint procedure is installed and used through the maintenance management System application.

The identified shortcomings and respective recommendation for urgent and non-urgent measures can be summarized in the following table. A Technical assistance plan based on the identified measures showing the amounts needed for the urgent, high, medium and low priorities is attached in Appendix A-6.

| Department | Obstacles | Recommendations | Implementation |
| --- | --- | --- | --- |
| Governance/ Management/ Organizational structure/ Resilience | Meetings and Decision Monitoring: Coordination and follow-up on Board of Directors/Advisory Committee decisions is a pressing issue. The lack of resources hinders effective implementation of decisions. Internal Regulations and Rules Workflow and Data Flow Automation and Technology Use Inspection and Oversight: - The lack of staff qualification, inadequate wages for workers, and insufficient financial support. Internet Connectivity for Online Meetings and Training | Capacity building of management and BoD Regular meeting and coordination between LC and BoD Implementing an automation system Improve workflow and data flow which rely on traditional methods such as mail and archive systems. The institution/branch should dedicate departments for both internal control and inspection, as well as external oversight through the Subscriber Management and Central Control and Accounting Department. | Urgent High Urgent Urgent Medium |
| Human resource and capacity building management | Delay in linking retirement pensions leads to delayed dues for contract employees and new hires. Institution needs new workforce for management and affiliated branches due to shortage caused by retirees. Financial constraints prevent the disbursement of incentives and employee entitlements. Shortage of offices, computers, printers, chairs, occupational safety tools, cars, and motorcycles in the transportation department. | Improving the recruitment process and increasing salaries Revising the incentive system and providing monthly cash incentives Offering regular training courses and promoting experience exchange Improving internet services and establishing an internal network for the institution | Urgent High High Urgent |
| Finance management | Suspension of government support and investment programs. Need for completing office automation. Need for training and qualifying the financial staff. The institution/branch does not have financial reserves or emergency funds There is no specific plan in place to identify projects | Training workshops were conducted for employees to enhance their financial management skills. Specialized training courses for both internal and external employees Establishing a network connection between financial administrative departments Training employees on various accounting systems, particularly in the accounts department, is included in the plan Develop a financial plan to organize and schedule expenditures. Ensure monthly closure of accounts without delay for all subsidiary systems linked to the accounting system. Conduct quarterly reconciliations with subsidiary systems for payroll, inventory, assets, and billing Prepare the estimated budget for the year 2024. | High High Urgent High High Urgent High Urgent |
| Customer service and relation management | Evaluation and improvement of the entire billing process, including meter reading, data entry, review, invoice issuance, and distribution. Need for enhancements in the collection process and effective monitoring of various types of debts. High priority for optimizing the delivery of services to subscribers. Attention required for issues related to subscriber meters and their operational status. Medium priority area for improving the flow of work processes and data exchange within the LC. Medium priority for enhancing planning and monitoring mechanisms to ensure efficient performance. Urgent need for implementing automation and modern technology in management operations and procedures. Low priority area focused on assessing and enhancing the qualifications and capabilities of employees involved in management | Qualifying technical staff from the Customer Management for installing large-sized meters for major consumers Network Connection between Centers and Collection Offices Raise the community awareness of the importance of paying the bills for water consumption. Policies and strategies of developing and strengthening the relationship between the LC/AU/Branch and the Consumers Implementing automated programs for procedures related to service requests in subscriber accounts. Developing automated programs for taking readings. Adding an input program for transfer transactions in the connection department, and training and qualifying department employees on it. Qualifying technical staff from the Technical Department and workshops specialists to analyze offers presented in tenders related to water meters to adjust specifications for quality and industry. | High High High High High High Urgent High |
| Water and Sanitation Service management | Shortage of equipment, emergency vehicles and assembly parts Operating system for wells and a GIS program | Establish GIS unit. Find the necessary support to complete the construction of the stalled wastewater treatment plant | High Urgent |
| IT infrastructure | Provide the branch with meter reading systems and link them to subscriber accounts. Provide the branch with quantity measurement devices and link them to the central computer. Absence of development plan of the IT Department and the used systems. Provide computers and printers for collection offices and link them to subscriber accounts. Provide the branch with any technological systems that contribute to performance improvement | Inclusive training of staff Capacity building for IT department IT management procedures and operations | High High High |
| Gender perspective | No specific conditions/criteria for the appointment of female employees. No specific conditions/criteria for the appointment of female employees in decision-making positions. No current mechanisms to ensure the participation of women in leadership positions in the institution/branch | Establish an office for the management of women that accommodates its departments, sections, and committees Create partnerships between women's departments in water institutions nationally and internationally for exchanging experiences and developing work for the benefit of women, the institution, and connecting them to international organizations. Integrate the department's structure and sections in line with the department's strategies and plans Allocate a room for the care of employees' children. | Critical High Medium Low |

Table 0.1: Obstacles and recommendations for institutional measures

To enable the implementation of the above proposed recommendations the following Technical Assistance interventions grouped into six packages with related cost estimates have been identified:

| Package | TA intervention | Estimated TA cost in USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Urgent | High priority | Medium priority | Low priority |
|  |  | (0-6 months) | (1 -2 year) | (2-3 years) | (3-5 years) |
| TA1 | Financial Support | 50,000 | 0 | 0 | 0 |
| TA2 | Training Courses | 198,000 | 168,000 | 62,000 | 0 |
| TA3 | Office equipment and IT | 90,000 | 22,000 | 0 | 0 |
| TA4 | Coaching and Consultancy services | 60,000 | 140,000 | 30,000 | 0 |
| TA5 | Operation Management Support | 29,000 | 170,000 | 30,000 | 0 |
| TA6 | Public Relation and Awareness | 0 | 30,000 | 30,000 | 7,000 |
| Total TA cost: |  | 427,000 | 530,000 | 152,000 | 7,000 |

Table 0.2: Cost estimates on TA intervention

The total required amount for the technical assistance measures has been estimated to around USD 427,000 for critical priority intervention, USD 530,000 for high priority intervention, 152,000 for medium priority intervention and USD 7,000 for low priority interventions.

- Infrastructure Assessment and Recommended Rehabilitation Measures (Investment Plan) for LC Al-Mukalla

The buildings and reservoirs are facing some damage through age deterioration and lack of maintenance. The LC faced indirect damage, mostly through the electricity price rise, economic crisis, and displaced people.

Water supply system

The water infrastructure comprises 109 wells, 49 of them operational, 12 ground reservoirs with total capacity of 13,650 m3, 1 elevated tank, 3 water sterilization facilities, 1 water laboratory and 2,274.55 km of water supply network. According to the LC, from the 55,932 house water connections, almost 100 % have functional water meters installed. The water production increased since 2017 by 17 % to currently 62,239 m3/day in average. The customers are supplied by the 7 distribution zone through the pumping station interconnected with the ground and elevated reservoirs. The water supply is 7 hours per day considering the provided amount of 72 lpcd. The LC is operating the wells and pumps mostly through the power plant of 49 and in addition by generators. The LC owns 17 fuel generators, 9 of them are used for the water supply system and 8 for sanitation. The LC asked for solar power for office and well pumps

There is lack of equipment and spare parts for the O&M of the water network. The LC is therefore not able to perform the regular maintenance of the facilities and equipment. The result is failure of generators, wells and pumping equipment. Due to the high content of dissolved salts the pipes are regularly blocked and need to be cleaned.

The required materials comprise submersible and centrifugal pumps for the water supply, new generators, water meters and various small materials for the maintenance of the network and facilities. Besides transformers for well operation and laboratory equipment is needed. The LC requested also vehicles for operation and maintenance water and sewage systems.

Sanitation system

Al-Mukalla Station utilizes a primary treatment system with three stages involving settling tanks, test basins, maturation basins, and chlorination basins. The current condition is described as being in good and acceptable condition, with an operational status indicating that the station is currently functioning.

Design standards for sewage treatment encompassing parameters that are not available for the station due to the non-operation of the sewage laboratory. The treated sewage water is discharged into the sea, and the method of discharge involves a transmission line with a diameter of 400 mm.

Investment needs

The identified measures have been prioritized according to feasibility and urgency in urgent measures, high priority, medium and low term measures grouped into 9 investment packages as shown in Table 4. The period indicates the proposed commencement of the investments, starting from 2024.

The required estimated budget has been calculated for:

- Urgent measures:		37,875,969 USD

- High-priority measures:	13,998,752USD

- Short-term measures:	11,485,325 USD

- Long-term measure:		2,582,598 USD

The total needed amount for the rehabilitation, restoration and extension of the water and sanitation system, provision of solar systems and supply of required operation and maintenance materials has been estimated to about 64,414,572 USD for the next 5 years.

| Domains | Obstacles | Investment measures |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Urgent (0-6 months) | High priority (1-2 years) | Medium priority (3-5 years) | High priority (>5 years) |
| Building and Reservoirs | General Administration Building of the Local Water and Sanitation Authority needs completion protection works for water lines are needed building rooms for workers and generators are needed insufficient offices, guard rooms, warehouses, and tanks Old buildings need rehabilitations | Project for constructing a 12,000 cubic meter capacity tank in Boueish Rehabilitation of the branch building | Road Opening, Water Line, Site Leveling, Excavation, Building, Stone Base, Block Building, Concrete Works, Finishing Works, Electrical Works | Excavation, Building, Gabion Network Works Excavation, Building, Concrete Works Excavation and Filling Works, Building Works, Stone Base, Block Building, Concrete Works, Finishing Works | Excavation and Filling Works, Building Works, Stone Base, Block Building, Concrete Works, Finishing Works, Plumbing Works, Electrical Works |
| Water Resource, use and balance | Shortage in water supply Low yield of the wells Safety problems related to wells Insufficient information coming from wells | Drill a new monitoring well Construct reinforced concrete protection slab to safeguard the well from flash floods Field device for measuring acidity and alkalinity (p.H) and temperature for well water High-resolution water well camera with the ability to capture images up to a depth of 700 meters | Rehabilitate 10-inch diameter iron well casings with 8-inch plastic casings Water well sampling unit up to a depth of 150 meters Geophysical survey unit for determining electrical resistance (VES) working up to a depth of 700 meters | Drill a replacement well for well number | Ingersoll Rand (RD 20) water well drilling rig with all its accessories, including pipes, drilling heads, weights, and other necessary equipment for operating the rig |
| Water pipelines | Dilapidated water distribution network. Uncompleted rehabilitation of distribution networks | Supplying maintenance tools and equipment for the network Expanding and implementing new water networks for several regions Supply and installation of new meters, valves and replacement of existing ones Rehabilitation of the corroded Ductile water line | Improvement project for the water network | Improvement projects for the water network | - |
| Water Pumping/lifting Stations | Insufficient pumping capacity | Supply and installation of several submersible pumps Pumps and motors Electrical transformers Electric generators | - |  | - |
| Water sterilization facilities | Lack of water sterilization equipment Lack of measuring kits for residual chlorine. | Providing Chlorine Powder Injection Pumps Providing Chlorination Unit Equipment DPD Free Residual Chlorine Test Kits Free Chlorine Measurement Devices |  | - | - |
| Power generating/auditing for water & wastewater system | Diesel power generator pumping station out of service and needs rehabilitation. Raise of Diesel prices. | Implementing Integrated system for energy generation (solar energy system) Supply and installation of generators, electrical networks, and furniture | Supply, transport, installation, and operation of 8 groundwater wells with solar energy | - | - |
| Operation and maintenance process of water infrastructures | Lack of transport vehicles. Lack of repair and maintenance tools for pipe works pump and motor works. Lack of tools and instruments for electrical works. Lack of trench excavation equipment. Lack of water meter maintenance workshop. | Provide a trucks, Backhoe, Double carb truck, cranes, Motorcycles, Transport cars, large excavator and flatbed truck -Buying safety tools |  | - | - |
| Wastewater collection/transportation pipelines | Lack of repair and maintenance tools for pipe works pump and motor works | Lifting Pump with Operation Panel and Spare Parts Set of mechanical seal Rotor and shaft of motor Maintenance Pipes for Sewage Network Supply and installation of plastic pipes + inspection chambers | Rotor and shaft of motor Set of Bearing upper and lower Supply of Double Socket Swept Tees Maintenance of sewage networks | Lifting Pump with Operation Panel and Spare Parts | - |
| Wastewater treatment facilities | Lack of tools for operating wastewater facilities | Main Lifting Station Provide Electric Winch Provide Screening Equipment | - |  | - |
| Operation and maintenance process of wastewater facilities | Poor logistics for operation & maintenance | Buying Jetting Pump, Vacuum Pump, Backhoe Loader, Double-Cabin, Pickup Truck, Single-Cabin, Pickup Truck, Waste Transport Dumper, and Winch Truck (Crane) Safety tools |  | - | - |
| Water & wastewater Laboratories | Poor logistics for operation and limitations in consumables and chemicals Need for solar energy systems | Buying Fully furnishing for the laboratory (benches + office furniture) ,Ion Chromatography Device, Plasma Induction Device, Mobile Laboratory Car + Pickup Car, Chemicals for conducting drinking water tests , Digital Incubator, EC Measurement Device, Turbidity Measurement Device |  | - |  |

Table 0.3: Brief description of recommended rehabilitation measures for water and sanitation infrastructures

| Package | Measures | Urgent (0-6mths) (USD) | High priority (1-2 years) (USD) | Short-term (3-5 years) (USD) | Long-term (>5 years) (USD) | Total (USD) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2024 | 2024-2025 | 2025-2027 | >2027 |  |
| Package 1 | Civil Works on buildings and structures | 1,875,000 | 1,198,978 | 6,765,507 | 1,582,598 | 9,894,011 |
| Package 2 | Well rehabilitation and new construction | 1,467,800 | 1,189,300 | 1,937,820 | 1,000,000 | 5,594,920 |
| Package 3 | Water pumping station | 573,220 | 0 | 0 | 0 | 573,220 |
| Package 4 | Water network rehabilitation and extension | 17,971,788 | 3,513,113 | 2,771,998 | 0 | 24,256,899 |
| Package 5 | Wastewater collection, disposal and Treatment | 1,611,800 | 167,500 | 10,000 | 0 | 1,789,300 |
| Package 6 | Generators and spares, Electric materials and solar systems | 7,395,815 | 6,293,816 | 0 | 0 | 13,689,631 |
| Package 7 | Vehicles, machines, tools | 5,762,620 | 0 | 0 | 0 | 5,762,620 |
| Package 8 | Laboratory equipment | 667,000 | 1,636,045 | 0 | 0 | 2,303,045 |
| Package 9 | Water sterilization facilities | 550,926 | 0 | 0 | 0 | 550,926 |
| Total investment |  | 37,875,969 | 13,998,752 | 11,485,325 | 2,582,598 | 64,414,572 |

Table 0.4: Cost estimation on investment measures

# Background

## Hadramaout Governorateand Al-Mukalla

Hadramout Governorate with a total population of 1,028,556 (2017) million is located in the east of Yemen on the Arabian Sea with a total area of 193,032 km2 (36% of Yemen total area) and 28 directorates. Al-Mukalla is the capital of Hadramout Governorate and about 620 km of Sana’a City, the Capital of Yemen Republic. The Al-Mukalla city is located at Latitude: 14.33 and Longitude: 49. 10 with altitude is 10 m above sea level. The city is in the southern part of the Arabian Peninsula on the Gulf of Aden, on the shores of the Arabian Sea, about 480 kilometres (300 miles) east of Aden. It is the most important port city in the Hadhramaut region. It is also the sixth-largest city in Yemen, with a population of approximately 595,000 as of 2023.The climate is comparable to coastal climate (typical Arab sea costal area climate) - hot in summer with an average temperature of 32 C° and mild in winter with an average temperature of 26 C°. The rainfall is little in winter. Summer rains fall on most parts of the governorate, and often the amount of rainfall is low and infrequent, especially in the eastern parts. It is one of the governorates challenges that suffer from drought in most of its areas due to the scarcity of rainfall.

## General information of the LC Al-Mukalla

| The utility/branches under the management of (the LC/NWSA). | Name of the utility/branch |
| --- | --- |
| National Water and Sanitation Authority - Hadramaut Governorate - Coastal Areas | Ghail Bawazir Branch |
| National Water and Sanitation Authority - Hadramaut Governorate - Coastal Areas | Shahr Branch |
| National Water and Sanitation Authority - Hadramaut Governorate - Coastal Areas | Al-Dis Al-Sharqiah Branch |
| National Water and Sanitation Authority - Hadramaut Governorate - Coastal Areas | Redah Al-Sharqiah Branch |
| National Water and Sanitation Authority - Hadramaut Governorate - Coastal Areas | Maifaa - Hajr Project |
| National Water and Sanitation Authority - Hadramaut Governorate - Coastal Areas | Haseehasah Project |

Table 1.1: List of affiliated utilities and branches to NWSA/LC serving in the same geographical area (governorate)

The population growth through period from 2017 to 2022  in LC Al-Mukalla with the displaced people is shown in Table 1.2.

| 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | Year |
| --- | --- | --- | --- | --- | --- | --- |
| 449,193 | 429,739 | 411,904 | 394,808 | 378,423 | 362,826 | Population |
| 1.043 | 1.043 | 1.043 | 1.043 | 1.043 | 1.043 | Population growth rate (%) |
| 143,500 | 143,500 | 142,500 | 142,500 | 142,500 | 142,500 | The cumulative number of displaced persons |

Table 1.2: Population Growth in LC Al-Mukalla

Figure 1.1: Al-Mukalla Location Map

## Methodology of assessment

The water and sanitation authority NWSA is responsible on the water and sanitation services in LC Al-Mukalla, and administratively belongs to the general water and sanitation corporation.  The main objectives of the situational assessment report for NWSA in Al-Mukalla are as follows;

- Assessment of the current water and sanitation services; this covers both technical (water and sanitation infrastructure) and institutional (offices, staffing and equipment) aspects.

- Prepare list of actions to improve the water and sanitation services with cost estimate

- Prepare investment plan for GIZ and other donors

For this purpose, two questionnaires were prepared based on DAS IV list of required information; Questionnaire A for institutional issues while questionnaire B for technical issues. In addition, the field team prepared checklist for the problems and challenges faced the LC.

The questionnaires were prepared with close coordination with GIZ and the NWSA representatives through carried out the workshops in Yemen. The questionnaires were distributed to LC’s and NWSA for filling the requested data and the consultant field team was working with LC and NWSA representatives on filling gaps and getting the LC and NWSA certification for collected data.

Part A is covering all institutional subjects: management, governance, human resources, customer management, financial management, and IT management while Part B covers water supply, water and wastewater infrastructure, and managements. The questionnaires were distributed in March 2023. Interviews were conducted with the General Manager, Deputy General Manager for technical affairs, the Financial Manager, the Human Resource Manager, the Technical Manager, the Customer Manager and IT Manager. The field team verified and certified the questionnaires from LC and NWSA in August 2023.

In addition, the field team held several telephone conferences with the responsible members of the LC and NWSA respectively to ask for clarification of data. All provided data were analyzed and respective results incorporated in this report. The final version of the filled questionnaires forms was translated into English and are listed in Appendix B.

The sections below summaries the assessment outcomes of the water and sanitation services of LC and NWSA management capacity. The outcomes are summarized into an investment plan which include actions and measures to improve the services with cost estimate.

# Assessment of LC Organization and Management

The LC’S in Yemen were established based on Republican Decree no. (02) for the year 2001. The legal procedures and laws are still in operation during the conflict; the LC is following the financial and civil service laws, law for procurement and water law.

## Organizational Structure

The assessment of the organizational and procedural framework for the institution/branch reveals the following key findings:

- Organizational Structure Approval: The institution/branch has an approved organizational structure, as confirmed by the relevant authorities. A copy of the approved structure has been provided.

- Current Organizational Structure: There is no existing organizational structure in place that has not been approved by the relevant authorities.

- Discrepancies in Organizational Structure: In some departments, minor adjustments have been made to the approved structure to align with workflow processes and enhance overall performance. These adjustments are in accordance with operational requirements.

- Executive Regulations for Internal Procedures: The institution/branch has established comprehensive executive regulations governing internal procedures. A copy of these regulations has been included for reference.

Overall, the organizational and procedural framework of the institution/branch is well-structured and in compliance with the guidelines set by the relevant authorities. The minor adjustments made to the organizational structure demonstrate a proactive approach to optimizing workflow and operational efficiency. These findings indicate a strong foundation for effective management and operation within the institution/branch.

### Board of Directors/Advisory Committee

The Board/Advisory Committee is a well-defined organizational structure. However, there is currently no female representation. Only one meeting took place between 2019 and 2022. Immediate organizational needs have not been specified. The Board/Committee addresses these needs by formulating plans and seeking support from relevant organizations. They also hold themselves accountable for significant decisions, demonstrating a commitment to ethical and financial responsibility. Additionally, auxiliary committees have been established to handle specific tasks as required. Women actively participate in these auxiliary committees, contributing to various aspects of organizational development. The organization demonstrates a proactive approach by preparing and regularly updating strategic, operational, and emergency plans, which are presented for discussion and approval by the Board/Committee. The Board/Committee also maintains a regular review process for policies and decisions concerning organizational operations. Furthermore, financial reports and performance indicators are consistently provided and discussed. The organization has a dedicated administration responsible for implementing the directives and decisions of the Board/Committee, ensuring efficient preparation for Board meetings.

In summary, the Board/Advisory Committee plays a pivotal role in organizational decision-making, emphasizing accountability, planning, and policy review.

### Organization Structure and Governance

The organization demonstrates a strong commitment to adhering to various laws and regulations. This includes compliance with laws related to financial matters, public institutions, civil service, job systems, and insurance. Additionally, they uphold laws concerning the collection of public funds, tenders, auctions, and water management. The institution also ensures the implementation of decisions related to its establishment. This high level of compliance reflects a responsible approach to legal and regulatory obligations.

During the period from 2017 to 2022, the following departments and sections were actively operational:

- Administrative Department (including HR and Personnel)

- Financial Department (encompassing General Accounts, Finance, Loans, Costs, Assets, etc.)

- Water Department (covering Water Production, Distribution, Operation & Maintenance, Laboratory, Wells, Pumping Stations, Distribution, etc.)

- Sanitation Department (involving Sewerage, Collection, Operation & Maintenance, Laboratory, Network and Stations, etc.)

- Commercial Department (comprising Subscribers Services, Relations, Accounts, etc.)

- Projects, Planning, and Statistics Department

- Purchases and Stores Department

- Internal Audit Department

- Legal Affairs Department

- Women's Department

- IT Department

Additionally, there were other departments and sections, each with specific functional titles and operational statuses detailed in the organizational structure. All of these units operated effectively during this period.

### Most important problems related to governance and organizational structure

The institution/branch identifies several significant governance and organizational challenges:

- Meetings and Decision Monitoring: Coordination and follow-up on Board of Directors/Advisory Committee decisions is a pressing issue. The lack of resources hinders effective implementation of decisions.

- Organizational Structure: The current organizational structure of the institution/branch is deemed satisfactory.

- Internal Regulations and Rules: The institution/branch has established internal regulations and rules.

- Workflow and Data Flow: Currently, workflow and data flow rely on traditional methods such as mail and archive systems.

- Business Planning and Performance Monitoring: Business planning and performance monitoring are conducted through submitted departmental plans, with quarterly assessments.

- Automation and Technology Use: Automation and modern technology adoption for administrative procedures depend on available resources and support.

- Inspection and Oversight: The institution/branch has dedicated departments for both internal control and inspection, as well as external oversight through the Subscriber Management and Central Control and Accounting Department.

- Additional Administrative Challenges: These include a lack of staff qualification, inadequate wages for workers, and insufficient financial support.

Implemented technical assistance related to governance and organizational structure

| Funding Source | Date | Statement |
| --- | --- | --- |
| Local Institution | 2018 | Billing Collection System |
| Local Authority in Hadramout | 2019 | Asset Management System |
| UNDP Organization | 2020 | Automated Accounting System |
| UNDP Organization | 2022 | Fingerprint System |

Table 2.1: Implemented technical assistance related to governance

### Interaction of authorities with institution/branch

The interactions between key stakeholders and the institution/branch play a crucial role in addressing challenges related to water and sanitation services, particularly in times of crises. The Ministry of Water and Environment actively engages with the institution, providing essential support in areas such as fuel, maintenance materials, equipment, and projects. Additionally, the Board of Directors/Advisory Committee demonstrates a high level of involvement, offering crucial assistance in projects and resource allocation. Local authorities also contribute significantly by actively participating in efforts to overcome challenges in delivering water and sanitation services. These collaborative efforts reflect a coordinated approach to address pressing issues in the sector.

### Governance criteria

- Audit and Inspection:

The institution/branch is subject to audit and inspection by relevant authorities.

- Stakeholder Information Access:

The institution/branch has procedures in place to ensure stakeholders' right to access information. This is facilitated through various departments, including the Statistics Department, stakeholders, and related departments.

- Timely and Accurate Information:

The institution/branch commits to providing reliable information in a timely manner and with the required accuracy.

- Transparency and Disclosure:

The institution/branch has established rules and instructions for transparency and disclosure.

- Website for Disclosure:

The institution/branch has a website for displaying data and information that need to be disclosed. Currently, there is a Facebook page for sharing news. The website is under development as per a directive from the local authority.

- Consultation and Participation:

The institution/branch has a mechanism to ensure consultation and participation with beneficiaries to meet their needs. This includes a dedicated department for women with sections for awareness, education, and community communication, as well as a Customer Service Department for receiving complaints.

- Stakeholder Accountability:

The institution/branch does not have a specific mechanism for stakeholders to hold the institution accountable.

- Strategic Plan:

The institution/branch has a documented strategic plan, and a copy of it is attached.

- Conflicts of Interest with Service Providers:

The institution/branch does not have specific policies and procedures for conflicts of interest with service providers, as it is the sole service provider for water and sanitation services in its geographical scope.

- Conflicts of Interest:

The institution/branch does not operate with specific policies and procedures for conflicts of interest, as there are no partners involved in providing the service (water and sanitation) within its geographical scope.

- The institution/branch has templates for identifying needs, such as the Training Needs Plan.

- The institution/branch has a Code of Values and Principles of Behavior, detailed in the strategic plan and establishment decision.

- The institution/branch complies with the Code of Values and Principles of Behavior and implements it.

- The institution/branch has a system for monitoring and evaluating performance, including the use of performance indicators. Performance is assessed through evaluation forms (Performance Indicators attached).

- The institution/branch provides relevant documents to supervisory and donor authorities for performance evaluation and monitoring. This is managed by the Planning Department.

- The institution/branch has plans for partnerships with the private sector, currently manifested in contracts for services like security, cleanliness, and network maintenance.

- The institution/branch has implemented these plans in current partnerships with the private sector.

- The institution/branch adheres to national/international environmental regulations and standards in its operations. Water quality is tested according to international and Yemeni standards.

- The institution/branch does not operate on commercial principles due to economic challenges and its essential service provider status.

### Strategic resilience

The institution, facing a series of significant challenges, has demonstrated remarkable resilience in maintaining water supply and sanitation services amidst various crises. These include financial constraints, fuel shortages, prolonged power outages, and the direct impact of hostilities. Through strategic risk assessment and preparedness, the institution has successfully mitigated potential negative effects, ensuring uninterrupted service provision. While coping with these challenges, the institution has undertaken crucial measures such as network rehabilitation, resource reallocation, and targeted evaluations based on elevation and population density. However, financial constraints remain a substantial hurdle, necessitating external support for critical operational needs, including fuel costs and debt repayment. The institution is actively engaged in recovery and capacity-building efforts, participating in training programs to enhance its resilience. Additionally, it has established comprehensive post-conflict reconstruction plans, encompassing strategic, continuity, financial, project, and training frameworks. Despite the demanding circumstances, the institution's adaptability and forward-thinking approach underscore its unwavering commitment to maintaining essential services for its consumers.

## Assessment of human resource management

### Staff Situation and Salary

The LC employs a total staff of 1165 in 2022 including 407 contracting staff and no day (temporary) workers. The number of employees increased by 33 % since 2017, with 21.07 employees (incl. day workers) per 1,000 water connections. The percentage of female staff amounts 4 % in 2017 to 3.4 % in 2022 of total staff.

The table below summarizes the staff according to gender, working condition and in relation to the number of water connections. Comprehensive details on the assessment of staffing situation of the LC are given in Table 2.1.

| Staff situation | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- |
| Total no. of permanent staff | 763 | 760 | 764 | 761 | 753 | 758 |
| Total nos. of contracting staff | 19 | 32 | 128 | 280 | 397 | 407 |
| Total nos. of day workers (temporary worker) | 0 | 0 | 0 | 0 | 0 | 0 |
| Total no. of staff | 782 | 792 | 892 | 1041 | 1150 | 1165 |
| Total nos. of male staff actual working | 750 | 760 | 860 | 1001 | 1112 | 997 |
| Total nos. of male staff not actual working | 0 | 0 | 0 | 0 | 0 | 0 |
| Total nos. of staff female actual working | 32 | 32 | 32 | 40 | 38 | 35 |
| Total nos. of staff female not actual working | 0 | 0 | 0 | 0 | 0 | 0 |
| % of female to total | 4.1 | 4.0 | 3.6 | 3.8 | 3.3 | 3.4 |
| Nos. of water connections | 44,968 | 46,750 | 49,359 | 51,535 | 53,524 | 55,301 |
| Nos. of staff per 1,000 connections | 17.39 | 16.94 | 18.07 | 20.2 | 21.49 | 21.07 |

Table 2.2: Staff number and attendance

All the departments of the LC are still in operation; below figure presents the distribution of staff for the different departments reflecting the figures obtained from the LC.

Figure 2.1: Share of staff members (in No.) per department

In 2022, the number of managers is 57 represents 5.4 % of total staff, which is acceptable for the size of the LC.

From the figures above it can be further concluded that the number of staff per department is appropriate. The staff of technical departments (water supply, sanitation, planning) represents 61 % of total staff and the finance department – customer service is representing 16.4 % of the total staff. Thus, the main departments represent 76 % of the total staff which indicates that the LC is aware of the importance of these departments, and this conclusion can be generalized on the period 2017 to 2021.

In 2022, the total monthly salary for the 1165 employees is 2,137.35 million YER.

### HR general information, procedures and reporting

The institutional/branch practices and policies covers aspects such as job descriptions, collaboration with external entities, consideration of traditional and social values in hiring, availability and monitoring of training plans, support for employee skill development, and documentation of crucial procedures. Additionally, it confirms the application of specific procedures and systems during the period from 2017 to 2022. The information provided reflects a commitment to structured and organized operations within the institution/branch, with a focus on both individual employee development and adherence to established protocols. This comprehensive summary encapsulates the key findings from the table, offering a concise yet informative snapshot of the institution's operational framework.

# Financial Capacity

## Financial management

### General data on financial management

The financial management department of the organization maintains robust financial reporting practices. They produce annual audited financial reports, including profit and loss statements, for the years 2017 to 2022. Additionally, they generate periodic financial reports, with the latest version available for the last four months of 2022. The organization also conducts regular audit reports on financial and accounting activities. They keep a detailed register of fixed assets, regularly updating it to reflect the current status and true values of the assets. Furthermore, the organization utilizes financial and accounting computer programs, ensuring data accuracy and consistency through regular updates.

Implemented technical assistance needs related to financial management

Implemented measures to transfer input operations to the accounting system (as of 2/1/2020).

Adopted automatic entries for water sales and warehouse operations (as of 11/1/2020).

Implemented purposeful training courses in the field of work (as of 12/1/2018).

Closed pending projects prior to 2017, including the Al-Mukalla Water Project and the Deep Wells Project (in 2020 and 2021).

Implemented an automated collection system for collectors and linked it to the General Collector (as of 11/1/2020).

Activated and monitored the collection of government debt (in 2023).

Activated and monitored the collection of household and commercial debt (in 2023).

Planned measures to improve financial management

Develop a financial plan to organize and schedule expenditures.

Ensure monthly closure of accounts without delay for all subsidiary systems linked to the accounting system.

Conduct quarterly reconciliations with subsidiary systems for payroll, inventory, assets, and billing.

Prepare the estimated budget for the year 2024.

These planned measures aim to enhance financial management by implementing structured financial planning, ensuring timely closure of accounts, conducting regular reconciliations, and preparing an estimated budget for the upcoming year. This proactive approach demonstrates a commitment to maintaining sound financial practices.

Here are the key points regarding budget management and expenditures for institution or branch:

The institution/branch does not have financial reserves or emergency funds to cover expenses for the most expensive component of operation and maintenance. This is due to higher costs compared to the household and commercial collection rates, as well as seven consecutive years of zero government collection and government sales representing 30% of water and sanitation sales.

The institution/branch does not have sufficient savings to cover the expected costs for short-lived assets over the next two years. This deficit is a result of rising prices and the cessation of government collections.

The primary source relied upon for the long-term development and expansion of the water and sanitation systems is the institution's own revenue.

There is no specific plan in place to identify projects and provide funding for capital improvement in the long term, mainly due to the suspension of the long-term investment program.

## Budget (Recurrent, Revenues, Expenses, Aid and Liabilities)

### Recurrent Budget

The annual total recurrent budget overview is used as monitoring tool to identify the LC’s performance in utilizing the allocated and received budget. In addition, the deviations of the expenses to the approved or received budget from the funding sources - recurrent or investment budget – are identified.

The table below provides an overview of the recurrent requested budget and received amounts from the government.

| Recurrent budget | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- |
| Total recurrent budget requested in YER | 3,690,513,000 | - | 4,120,979,000 | 4,773,630,300 | 5,415,230,000 | 4,995,621,000 |
| Total recurrent budget approved in YER | 3,690,513,000 | - | 4,120,979,000 | 4,773,630,300 | 5,415,230,000 | 4,995,621,000 |
| In % of requested | 100 | - | 100 | 100 | 100 | 100 |
| Total recurrent budget disbursed in YER | 3,714,865,322.23 | 4,537,695,877.94 | 5,082,183,122.06 | 7,971,259,280.00 | 6,486,306,916.35 | 5,239,209,000.21 |
| In % of requested | 100.66 | N/A | 123.32 | 166.99 | 119.78 | 104.88 |

Table 3.1: Recurrent budget for years (2017-2022)

### Revenues, Expenses and Liabilities

The table below presents an overview of the annual amount of operation and maintenance cost for the LC according to different categories for the years (2017-2022).

| Revenues / Expenses | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- |
| Total revenue in YER | 734,091,708 | 995,692,180 | 1,307,156,286 | 5,558,386,331 | 3,891,440,568 | 1,519,575,194 |
| Total cost without depreciation in YER | 1,917,919,676 | 2,472,623,938 | 2,849,950,724 | 6,952,746,883 | 5,182,543,739 | 3,823,944,820 |
| Total cost in YER | 2,486,492,739 | 3,040,044,571 | 3,480,805,866 | 7,971,259,280 | 6,486,306,916 | 5,239,209,000 |
| Salaries, allowances, incentives and others in YER | 1,150,272,576 | 1,248,901,054 | 1,515,985,944 | 1,621,657,278 | 2,024,753,860 | 2,137,347,337 |
| % Salaries, etc. of total revenue | (156.69) | (125.43) | (115.98) | (29.17) | (52.03) | (140.65) |
| % Salaries, etc. of total cost | 46.26 | 41.08 | 43.55 | 20.34 | 31.22 | 40.80 |
| Fuel, oil in YER | 60,306,514 | 356,085,054 | 343,977,956 | 330,712,192 | 190,109,743 | 126,666,837 |
| % Fuel, oil, of total revenue | (8.22) | (35.76) | (26.31) | (5.95) | (4.89) | (8.34) |
| % Fuel, oil, of total cost | 2.43 | 11.71 | 9.88 | 4.15 | 2.93 | 2.42 |
| Electricity in YER | 293,536,620 | 219,483,790 | 198,293,475 | 474,179,582 | 537,244,949 | 710,870,896 |
| % Electricity total revenue | (39.99) | (22.04) | (15.17) | (8.53) | (13.81) | (46.78) |
| % Electricity of total cost | 11.81 | 7.22 | 5.70 | 5.95 | 8.28 | 13.57 |
| Maintenance, spare parts, other O&M expenses in YER | 178,697,476 | 220,925,980 | 309,353,816 | 419,631,881 | 396,342,291 | 428,056,257 |
| % Maintenance, other O&M of total revenue | (24.34) | (22.19) | (23.67) | (7.55) | (10.18) | (28.17) |
| % Maintenance, other O&M of total cost | 7.19 | 7.27 | 8.89 | 5.26 | 6.11 | 8.17 |
| Other expenses in YER | 235,106,490 | 427,228,059 | 482,339,533 | 4,106,565,947 | 2,034,092,895 | 421,003,491 |
| % Other expenses of total revenue | (32.03) | (42.91) | (36.90) | (73.88) | (52.27) | (27.71) |
| % Other expenses of total cost | 9.46 | 14.05 | 13.86 | 51.52 | 31.36 | 8.04 |
| Depreciation in YER | 568,573,062.12 | 567,420,633 | 630,855,142 | 1,018,512,396 | 1,303,763,176 | 1,415,264,180 |
| % Depreciation of total revenue | (77.45) | (56.99) | (48.26) | (18.32) | (33.50) | (93.14) |
| % Depreciation of total cost | 22.87 | 18.66 | 18.12 | 12.78 | 20.10 | 27.01 |

Table 3.2: Revenues, recurrent costs

Revenues

Data regarding revenues clarify that LC has fluctuations in profits, as it increases by 44 % in (2017 to 2019), but it decreases by 73 % in (2020 to 2022).

Revenues versus Expenses

The total expenses are very high compared to revenues in 2017, 2018, and 2022. They reached a percentage of 344 % in 2022.

The salary and electricity represents the highest percentage of the total expenses. It represented about 58 % and 54 % of the total expenses for 2017 and 2022 respectively. The salary is considered as fixed costs which are not affected by increase or decrease in water production.

Regarding the electricity, LC has the biggest accumulated electricity debts in 2022. It amounted to 3,004,094,234 YER (68 % of the total debts) as showed in Table 3.3.

### Financial Liability (Payable amount)

To identify the financial liabilities of the LC, the accumulated debts until 2022 have been assessed and are presented in the table below.

| Financial liability | 2022(YER) | % of total |
| --- | --- | --- |
| Salaries and wages | 0 | 0.00 |
| Other dues for employee | 360,309,670 | 8.19 |
| Indebtedness of electricity | 3,004,094,234 | 68.25 |
| Fuel and oil | 0 | 0.00 |
| Insurance | 311,115,406 | 7.07 |
| Taxes | 484,550,085 | 11.01 |
| Local councils | 241,779,783 | 5.49 |
| Other financial obligation | 0 | 0.00 |
| Total | 4,401,849,181 | 100 % |

Table 3.3: Financial liabilities in 2022

## Financial Data

### Financial Efficiency and Support

Compared to 2017, the revenue in 2022 increased by 785.48 million which presents 52 % of revenue in 2017. The table below summarizes the financial overview of the LC since 2017.

| Description | 2017 (YER) | 2018 (YER) | 2019 (YER) | 2020 (YER) | 2021 (YER) | 2022 (YER) |
| --- | --- | --- | --- | --- | --- | --- |
| Total revenue | 734,091,708 | 995,692,180 | 1,307,156,286 | 5,558,386,331 | 3,891,440,568 | 1,519,575,194 |
| Support (USD) | - | - | (900,000) | - | - | (1,369,000) |

Table 3.4: Financial Overview for the years (2017 – 2022)

### Bank Account Data and Cash Flow

The table below presents an overview of the accounts for LC Al-Mukallah

| Account Type |  | Connections Account | Income Account | Expenditure Account | Depreciation Account |
| --- | --- | --- | --- | --- | --- |
| 2017 | first period balance (YER) | 0.00 | 3,695,545 | 3,569,603 | 4,999 |
|  | Total Deposits (YER) | 0.00 | 266,076,253 | 268,165,940 | 0.00 |
|  | Total withdrawals and transfers (YER) | 0.00 | 267,950,000 | 271,706,994 | 0.00 |
|  | end period balance (YER) | 0.00 | 1,821,798 | 28,549 | 4,999 |
| 2018 | Total Deposits (YER) | 0.00 | 2,464,173,104 | 1,858,546,732 | 0.00 |
|  | Total withdrawals and transfers (YER) | 0.00 | 1,856,008,096 | 1,849,696,364 | 0.00 |
|  | end period balance (YER) | 0.00 | 609,986,806 | 8,878,917 | 4,999 |
| 2019 | Total Deposits (YER) | 0.00 | 1,818,217,775 | 2,360,440,170 | 0.00 |
|  | Total withdrawals and transfers (YER) | 0.00 | 2,360,440,170 | 2,366,455,114 | 0.00 |
|  | end period balance (YER) | 0.00 | 67,764,411 | 2,863,973 | 4,999 |
| 2020 | Total Deposits (YER) | 0.00 | 2,394,318,973 | 2,097,600,000 | 0.00 |
|  | Total withdrawals and transfers (YER) | 0.00 | 2,097,600,000 | 2,084,689,071 | 0.00 |
|  | end period balance (YER) | 0.00 | 364,483,384 | 15,774,902 | 4,999 |
| 2021 | Total Deposits (YER) | 0.00 | 2,175,536,699 | 2,515,400,000 | 0.00 |
|  | Total withdrawals and transfers (YER) | 0.00 | 2,517,363,496 | 2,525,557,003 | 0.00 |
|  | end period balance (YER) | 0.00 | 22,656,587 | 5,617,899 | 4,999 |
| 2022 | Total Deposits (YER) | 0.00 | 2,538,395,415.00 | 2,515,910,000 | 0.00 |
|  | Total withdrawals and transfers (YER) | 0.00 | 2,515,910,000.00 | 2,517,868,188 | 0.00 |
|  | end period balance (YER) | 0.00 | 45,142,002.00 | 3,659,711 | 4,999 |

Table 3.5: Bank account details

Once post-conflict condition applies, the actual situation (particular regarding physical damage) of the LC has to be reviewed and the cash flow requirements updated respectively. In addition, the financial support has to be controlled through the MoF and in accordance with their regulations.

### Financial sources, subsidies and support

The table below presents an overview of the received funding subsidies in the past six years.

| Funding organization | Kind of support (USD) | Year |
| --- | --- | --- |
| Local authority | 1,334,442 | 2017 |
| UNICEF | 1,228,817 | 2017 |
| Total 2017 | 2,563,259 |  |
| Local authority | 1,378,995 | 2018 |
| UNICEF | 938,883 | 2018 |
| Total 2018 | 2,317,878 |  |
| UNICEF | 1,437,387 | 2019 |
| UNOPS | 4,168,641 | 2019 |
| Local authority or other sources | 5,573,796.34 | 2019 |
| UNDP | 168,620 | 2019 |
| Social Fund for Development | 89,487 | 2019 |
| Total 2019 | 11,437,931 |  |
| Local authority or other sources | 453,126 | 2020 |
| Total 2020 | 453,126 |  |
| Local authority or other sources | 10,399,518 | 2021 |
| Total 2021 | 10,399,518 |  |
| UNICEF | 1,078,189 | 2022 |
| Local authority or other sources | 845,568 | 2022 |
| Total 2022 | 1,923,757 |  |

Table 3.6: Financial subsidies from donor relief organizations

# Customer Services

## Customers Data and Reporting

### Customer and Connection Data

The table below summarizes the number of connections per customer category for the water and sewer system. The total number of water connections in 2022 is 61,273 connections, with an increase of 11,761 (19 %) connections over the year 2017, most of which are in the domestic sector (10,333) connections.

The total number of sewerage connections in 2022 is 42,143 with an increase of 8,821 (21 %) connections over the year 2017.

| Connections | Domestic connections | Government connections | Commercial connections | Industrial connections | Mosques connections | Other connections | Total connections |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. of Water connections | 55,301 | 680 | 971 | 1,925 | 381 | 2,015 | 61,273 |
| No. of installed water meters | 55,301 | 680 | 971 | 1,925 | 381 | 2,015 | 61,273 |
| % installed water meter to total connection | 100 | 100 | 100 | 100 | 100 | 100 | 100 |
| No. of functional water meters | 51,192 | 517 | 1,430 | 406 | 365 | N/A | 55,932 |
| % of functional water meter to total | 92.6 | 76 | N/A | 21.1 | 95.8 | N/A | 91.3 |
| No of zero Reading | 4,109 | 163 | N/A | 1,519 | 16 | N/A | 7,834 |
| No of Sewer connections | 39,364 | 429 | 810 | 1,286 | 215 | 39 | 42,143 |

Table 4.1: Water and Sewer connections per customer category in 2022

The total number of installed water meters amounts to 61,273 meters with 91 % functioning water meters.

## Billing, Collection, and Complaint Procedures:

- Customer Database Maintenance:
The customer database is regularly maintained and updated.

- External Collection Centers
There are external collection centers outside the main center in the General Directorate, including Adais, Ash Sharj, Al Bareed, and neighborhoods of Al-Mukalla.

- Field Meter Readers:
There are six field meter readers responsible for reading meters.

- Field Revenue Collectors:
There are two field revenue collectors responsible for revenue collection.

- Digital Auxiliary Collection Devices:
Digital auxiliary collection devices are not used in the revenue collection process.

- Employee Incentive System:
The institution/branch has a variety of incentive programs for employees in field services and subscriber relations, including incentives for service cutoffs, random removals, readers, collective performance, and government debt collection.

- Service Connection Guidelines:
The institution/branch has documented guidelines for service connection procedures, and implemented in 2022.

- Copies of Billing and Collection Procedures:
The institution/branch maintains electronic and printed copies of billing and collection procedures, and implemented in 2022.

- Handling Complaints and Grievances:
The institution/branch follows specific procedures for handling complaints and grievances from subscribers through the department manager, section heads, and personal interviews.

These points outline the key procedures and practices related to billing, collection, and complaint handling within the subscriber services management. The institution demonstrates a commitment to maintaining accurate customer data, employing field personnel, and having systems in place for revenue collection. Additionally, there are documented guidelines for service connection, and a structured approach to addressing subscriber concerns and complaints.

### Billing and Collection Procedures

The billing and collection operations and procedures implemented by the institution outlines the step-by-step processes involved in managing subscriber accounts. This includes details on meter reading cycles and their recording, as well as the issuance and distribution of invoices. The various payment methods available to subscribers, ranging from mail to banks and collection offices. In cases of billing disputes, the institution follows a structured approach, involving the department manager and specialists. Additionally, procedures are in place to address any issues subscribers may have regarding their invoices or the level of service provided. Procedure emphasizes the importance of addressing violations related to consumption, such as meter tampering or damage, and underscores the significance of regular meter maintenance, including replacement, repair, and calibration when necessary. Overall, the institution exhibits a systematic and well-organized approach to managing billing and collection activities, ensuring smooth operations for both the institution and its subscribers.

### The key steps and responsibilities involved in service interruption or disconnection procedures:

Firstly, customers are notified of service availability or interruptions through the institution's website, social media platforms, and government radio announcements for a consecutive three-day period. Additionally, customers are informed of any outstanding debts through their invoices, and official letters are sent to government entities. Service suspension due to arrears or non-payment of bills is implemented for residential connections with outstanding amounts exceeding 30,000 YER and for commercial connections with amounts exceeding 5,000 YER on a monthly basis. The disconnection process is carried out by dedicated teams within the Disconnect and Reconnect Division for each region. In cases of legal or appeals procedures related to service disconnection or reconnection, concerns are escalated to the legal representative within the department and are further pursued through relevant authorities, whether they be security or judicial entities.

### Problems and Development Needs in Customer Management Procedures

| Area of Focus | Priority | Details |
| --- | --- | --- |
| Billing Process | High | Urgent need for improvement in meter reading, data entry, review, and invoice issuance. |
| Collection Process | Urgent | Immediate attention required for the collection process and monitoring various types of debts. |
| Customer Meters | Medium | Addressing issues related to customer meters and their status is a medium priority. |
| Service Provision | High | High-priority improvements needed in providing services to customers. |
| Workflow and Data Exchange | High | Urgent need for enhancements in workflow and data exchange processes. |
| Planning and Performance Monitoring | Urgent | Immediate attention required for planning and performance monitoring. |
| Automation and Technology | High | High-priority focus on automation and the use of modern technology in management processes. |
| Employee Qualifications | High | Urgent need for improving the qualifications and capabilities of employees in the management. |
| General Administrative Problems | Urgent | Identification of other urgent general administrative problems requiring immediate attention. |

Table 4.2: Problems and Development Needs in Customer Management Procedures

### Planned Technical Assistance Needs Related to Customer Services and Relations:

Computers are required for administrative tasks related to customer management.

Vehicles are needed for the mobility of staff managing customer relations and for citizens' convenience.

Meters and accessories are essential for accurate metering of consumed services by citizens.

Office furniture is necessary to provide a suitable work environment for staff handling customer-related tasks.

Air conditioners are needed to maintain a comfortable working environment for staff managing customer relations.

Laser printers are needed for employees in the Customer Management department.

### Proposed Technical Assistance and investment Measures Related to Improving Procedures and Operations of Customer Management

| Target Categories and | Details | Priority |
| --- | --- | --- |
| Employees and subscribers | Supplying good technical specifications meters to replace zero, standing, and stagnant meters | Urgent |
| Subscribers | Supplying spare parts for maintaining faulty meters | Urgent |
| Employees | Supplying GIS devices for electronic meter readings and linking them to the billing system with the management of systems and information. Training and qualifying meter readers on them | Medium |
| Employees | Adding an input program for transfer transactions in the connection department, and training and qualifying department employees on it. | Urgent |
| Employees | Qualifying technical staff from the Customer Management for installing large-sized meters for major consumers | High |
| Employees | Qualifying technical staff from the Technical Department and workshops specialists to analyze offers presented in tenders related to water meters to adjust specifications for quality and industry. | High |

Table 4.3: Technical Assistance and investment Measures for customer management

### Billing & Collection data

The LC takes monthly water readings and issues bills each month according to the procedure described above.

The domestic sector is the largest sector in water sales, with 90 %, of the total connections, while it represents 78 % of the total amount billed in 2022.

The government sector represents 1 % of total customers, only 680 connections, however it represents 12 % of the total amount billed in 2022. The commercial sector represents 1.6 % of consumers and it represents 1.2 % of the billed amount.

This indicates that the LC should relies on the governmental sector and domestic sector in increasing the collection efficiency, whereas in 2022 the collection efficiency of government was only 6 % and the total efficiency presented of 44 %, while the biggest rate of collection efficiency was 77 % in 2019.

The LC billed amount approximately 3,774,599,421 YER in 2022 From the issued bills, only 1,654,726,319 bills were paid.

The details for the billing and collection for the last six years and depending on the customer type can be seen in the table below.

| Customer category | 2017 |  |  | 2018 |  |  | 2019 |  |  | 2020 |  |  | 2021 |  |  | 2022 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Number of bills | Water and wastewater | coll. Eff. | Number of bills | Water and wastewater | coll. Eff. | Number of bills | Water and wastewater | coll. Eff. | Number of bills | Water and wastewater | coll. Eff. | Number of bills | Water and wastewater | coll. Eff. |  | Number of bills | Water and wastewater | coll. Eff. |
|  | No | YER | % | No | YER | % | No | YER | % | No | YER | % | No | YER | % |  | No | YER | % |
| Domestic billing | 43,968 | 777,092,251 | 80 | 45,757 | 806,661,959 | 87 | 48,348 | 898,180,436 | 94 | 50,528 | 982,001,541 | 79 | 5,2141 | 1,080,305,727 | 72 |  | 53962 | 1,299,448,530 | 77 |
| Domestic collection | 11,623 | 619,494,732 |  | 11,488 | 702,343,449 |  | 11,933 | 841,766,174 |  | 11,968 | 772,415,975 |  | 11,762 | 779,672,575 |  |  | 11,206 | 995,622,728 |  |
| Governmental billing | 439 | 695,913,330 | 27 | 438 | 814,646,645 | 43 | 460 | 805,564,695 | 56 | 472 | 803,433,573 | 7 | 483 | 811,027,550 | 6 |  | 568 | 1,720,969,600 | 6 |
| Governmental coll. | 29 | 190,421,392 |  | 28 | 346,549,721 |  | 38 | 452,351,183 |  | 16 | 55,712,211 |  | 27 | 46,662,181 |  |  | 20 | 104,952,664 |  |
| Commercial billing | 1,683 | 40,007,427 | 96 | 1,910 | 45,093,802 | 97 | 2,031 | 49,294,462 | 105 | 2,240 | 46,537,469 | 99 | 2,311 | 49,486,763 | 102 |  | 2,477 | 100,312,231 | 86 |
| Commercial collection | 1,036 | 38,652,965 |  | 544 | 43,583,543 |  | 634 | 51,619,487 |  | 689 | 46,230,379 |  | 726 | 50,336,421 |  |  | 1006 | 86,580,396 |  |
| Total billing | 47,518 | 1,771,183,408 | 57 | 49,687 | 1,965,380,165 | 65 | 52,583 | 2,087,239,539 | 77 | 55,060 | 2,148,661,918 | 50 | 56,784 | 2,295,136,010 | 49 |  | 58,855 | 3,774,599,421 | 44 |
| Total collection | 12,876 | 1,021,586,295 |  | 12,258 | 1,271,887,186 |  | 12,819 | 1,597,347,776 |  | 12,835 | 1,080,737,167 |  | 12,726 | 1,121,640,695 |  |  | 12,407 | 1,654,726,319 |  |

Table 4.4: Billing and collection amount per customer category

The accumulated debts of the three main categories are as follows:

- Domestic: 319,507,088 YER, corresponds to 72 months

- Governmental: 141,113,969 YER, corresponds to 72 months

- Commercial: 29,554,952 YER corresponds to 72 months

## Tariff structure according to customer type and consumption

This tariff took into account the poor customers or rationalization of consumption in the tariff of the domestic sector and mosques.

As shown in the table below the tariff is structured in different subcategories for each category of customer and presents the monthly fee per m3 water consumed.

| Customer category | Amount of Consumption in m3/month | Water Tariff (YER/m3) | Sewerage Tariff (YER/m3 ) | Other fees (YER/Month) | Average water consumption (m3/month) |
| --- | --- | --- | --- | --- | --- |
| Domestic | 1 -10 | 100 | 70 | 500 | 108,024 |
|  | 11 - 20 | 120 | 84 | 500 | 215,296 |
|  | 21 - 30 | 140 | 98 | 500 | 170,928 |
|  | ≥ 31 | 160 | 112 | 500 | 319,819 |
| Government | ≥ 1 | 1000 | 700 | 3000 | 120,566 |
| Schools | ≥ 1 | 500 | 350 | 1000 | - |
| Hospitals | ≥ 1 | 500 | 350 | 1000 | 4,643 |
| Mosques | ≥ 1 | 1,000 | 700 | 3,000 | 16,924 |
| Commercial | ≥ 1 | 500 | 350 | 1000 | 67,230 |
| Industrial | ≥ 1 | 500 | 350 | 1000 | 597 |
| Private Schools & Hospitals | ≥ 1 | 500 | 350 | 1000 | - |
| Others | ≥ 1 | 600 | 420 | 2000 | 15,952 |

Table 4.5: Approved tariff structure

Obviously, the current tariff is insufficient to cover the total operation cost as stated hereinafter.

Production cost and tariff efficiency

The table below presents the analysis of the average production cost of water versus the average tariff charged for customers:

| Description | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- |
| Average cost of water produced YER/ m³ | 148 | 180 | 194 | 429 | 326 | 264 |
| Average cost of water sold YER/ m³ | 267 | 303 | 323 | 704 | 536 | 420 |
| Tariff recovery of water billed (%) | 55.43 | 59.30 | 60.26 | 60.94 | 60.72 | 62.77 |

Table 4.6: Water production cost versus tariff

The current tariff does not cover operation and maintenance cost. The losses decreased to 38 % per cubic meter water billed in 2022. The figures of losses must be correct since the operation and maintenance cost decreased and subsequently the water production cost.

The LC should aim to increase its revenues and therefore improve their financial capacity through:

- Gradual increase of tariff structure;

- Increase number of connections;

- Minimize the Non-revenue water;

- Increase the collection efficiency from all customers and collected bills of domestic customers.

# Assessment of IT infrastructure and management

## IT and Office Resources

The Information Technology network status is as follows:

- Internal Network:

  - There is an internal network available between offices in the main building.

  - Connection Technology: Cable

  - Line Speed: 10/100

  - Details: General Administration Building (1 site)

- Distributed Networks:

  - Networks are distributed across more than one building at the main administration site.

  - Number of Sites: 5

  - Connection Technology: Cable

  - Line Speed: 10/100

  - Details: General Administration Building - Systems and Information Technology Management Building - New Collection and Linkage Offices Building - Subscribers Management Office - Government and Commercial Department Building

- External Connectivity:

  - There is external network connectivity to sites away from the main site.

  - Number of Sites: 6

  - Connection Technology: ADSL

  - Line Speed: Higher than 8 MB

  - Details: Dis Collection Office - Mukalla Collection Office - Sharjah Collection Office - Fuh Collection Office - Thula Station - External Projects Implementation Unit in the Ma'awas Region

- Previous Local Network Status:

  - The local network was not available previously.

  - No additional details provided.

- Status of communications networks is as follows:

- Communication Networks:

  - Yemen Mobile is the available communication network.

  - Details: Yemen Net, Yemen Mobile, Wi-Fi, Sabafon, and Yu.

- Quality of Communication Networks:

  - Yemen Mobile offers services with higher quality and better coverage.

- Mobile Companies Providing 4G Internet:

  - Yemen Mobile is the available company providing 4G internet.

  - Details: Yemen Net, Yu, Sabafon, Yemen Mobile, and others.

- Internet Service Availability:

  - Both wired and wireless internet services are available.

  - Details: Yemen Net, Fiber, Yemen Mobile, Yemen 4G.

- Internet Connection Quality:

  - Internet connection quality does not allow for participation in online meetings and training courses.

  - Details: Intermittent and unstable.

- Power Supply Systems:

  - Public electricity, generators, and solar power systems are available.

  - Details: Public electricity, generators, and solar power systems are available.

- Hours of Available Electricity Supply:

  - 12 hours of available electricity supply per day.

  - Details: Some departments operate in the afternoon, such as finance and subscribers.

- Impact of Electricity Supply on Communication Network:

  - Yes, the interruption of public electricity affects the communication network.

  - Details: When there is a power outage from public electricity, the network distribution panels connecting departments and administrations go off.

- Internet Accessibility:

  - Not all employees/departments/services have access to the internet.

  - Details: Systems and Information Technology Management, General Manager's Office, some department managers.

- Information Technology Applications and Software

| System Details and Specifications | Invoicing | Accounts | Salaries | Warehouses | Fixed Assets | Performance Indicators | Geographic Information System |
| --- | --- | --- | --- | --- | --- | --- | --- |
| System Name and Version | National Financial System for the Public Water Corporation | National Financial System for the Public Water Corporation | National Financial System for the Public Water Corporation | National Financial System for the Public Water Corporation | National Financial System for the Public Water Corporation | National Financial System for the Public Water Corporation | 0 |
| System Type | Windows | Windows | Windows | Windows | Windows | Windows | 0 |
| System Developer | Mr. Khaled Ahmed Al-Ashoul | Mr. Khaled Ahmed Al-Ashoul | Mr. Khaled Ahmed Al-Ashoul | Mr. Khaled Ahmed Al-Ashoul | Mr. Khaled Ahmed Al-Ashoul | Mr. Khaled Ahmed Al-Ashoul | 0 |
| Are Source Code and Documents Available? | Yes | Yes | Yes | Yes | Yes | Yes | 0 |
| System License Cost per Year (in USD) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Regular License Costs Payment? | No | No | No | No | No | No | 0 |
| Last System Update (Month/Year) | November 2022 | November 2022 | November 2022 | November 2022 | November 2022 | April 2014 | 0 |
| Technical Support and Maintenance Available? | 3) Contact the person in case of a problem | 3) Contact the person in case of a problem | 3) Contact the person in case of a problem | 3) Contact the person in case of a problem | 3) Contact the person in case of a problem | 3) Contact the person in case of a problem | 0 |
| Average Time to Solve Maintenance Issues | 3) 6 to 8 hours | 3) 6 to 8 hours | 3) 6 to 8 hours | 3) 6 to 8 hours | 3) 6 to 8 hours | 3) 6 to 8 hours | 0 |
| Number of Laptops Running the System | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| Number of Desktops Running the System | 12 | 12 | 12 | 12 | 12 | 12 | 0 |
| System Start Year | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 0 |
| Database System Type | Oracle | Oracle | Oracle | Oracle | Oracle | Oracle | 0 |
| Database Size | 8 GB | 8 GB | 8 GB | 8 GB | 8 GB | 8 GB | 0 |
| Host Device Model for the Database | HP DL 380 | HP DL 380 | HP DL 380 | HP DL 380 | HP DL 380 | HP DL 380 | 0 |
| Host Operating System for the Database | Windows Server 2019 | Windows Server 2019 | Windows Server 2019 | Windows Server 2019 | Windows Server 2019 | Windows Server 2019 | 0 |
| Location of the Database Host Device | Information Technology Building | Information Technology Building | Information Technology Building | Information Technology Building | Information Technology Building | Information Technology Building | 0 |
| Database Backup Frequency | Every day | Every day | Every day | Every day | Every day | Every day | 0 |
| Status of the Database Host Device | 1) Good | 1) Good | 1) Good | 1) Good | 1) Good | 1) Good | 0 |
| Last Exported Cycle from the System | April 2023 | December 2019 | May 2023 | December 2022 | December 2021 | April 2014 | 0 |
| How Many Times Did the System Stop in the Last 12 Months? | 1) Never | 1) Never | 1) Never | 1) Never | 1) Never | 2) Once | 0 |
| Main Functions of the System | Enter customer data. Enter financial adjustments for invoices. Issue invoices and print them. Print historical and statistical reports. Generate and print invoices. Print historical and statistical reports. | Enter expenditure, journal, and daily documents. Issue audit balances with the governmental and facility system. Issue the budget. Know profits and losses. | Enter data for permanent and contracted employees. Issue payroll. Issue an electronic copy of the payroll for the bank or ATMs. Issue reports of entitlements for employees. | Enter vouchers for the receipt and disbursement of stored materials. Issue monthly and annual inventory statements. Determine the overall inventory of materials. | Enter new assets. Enter adjustments to assets by decrease or increase. Print inventory statements. Reconcile assets with inventory items. Calculate the depreciation value for assets monthly. | System intermediary pulling data from billing, accounting, salaries, assets, and stores systems to provide performance indicators | 0 |
| Departments and Units Linked to System Functions | IT + Subscribers + Finance | IT + Finance (Accounts Department) | IT + Human Resources | IT + Purchasing + Finance (Stores Accounts Department) | IT + Finance (Assets Department) | IT + Statistics and Planning | 0 |
| Does the System Significantly Improve Work Performance? | Yes | Yes | Yes | Yes | Yes | Yes | 0 |

Table 5.1: Information technology applications and software

More details on Information Technology Infrastructure, management and other Information and Communication Systems can be found in Appendix A-1.

- External IT Infrastructure Support

| Brief Description/Items Purchased | Type of Support | Supporting Entity | Quantity | Year | Support Amount (EURO) |
| --- | --- | --- | --- | --- | --- |
| Office 1.60 cm with 3 drawers | Organizations | GIZ | 12 | 2019 | 1,560 |
| Long-back swivel chair | Organizations | GIZ | 12 | 2019 | 1,464 |
| Matrix Printer Invoice Printer | Organizations | GIZ | 1 | 2018 | 13,800 |
| Split air conditioner, 1.5 tons LG | Organizations | GIZ | 1 | 2019 | 715 |
| DELL server | Organizations | GIZ | 1 | 2018 | 9,114 |
| Core i7 desktop | Organizations | GIZ | 12 | 2020 | 11,040 |
| Core i7 laptop | Organizations | GIZ | 2 | 2020 | 2,140 |
| Black A4 laser printer | Organizations | GIZ | 2 | 2020 | 560 |
| Color A4 laser printer | Organizations | GIZ | 2 | 2020 | 1,060 |
| Color A3 laser printer | Organizations | GIZ | 1 | 2020 | 950 |
| Split air conditioner, 1.5 tons Samsung | Organizations | GIZ | 4 | 2020 | 2,600 |
| Sharp photocopier + inks + organizer | Organizations | GIZ | 1 | 2020 | 4,441.5 |
| Xerox photocopier + inks + organizer | Organizations | GIZ | 1 | 2020 | 4,800 |
| Water cooler | Organizations | GIZ | 3 | 2021 | 387 |
| Solar power system | Organizations | GIZ |  | 2022 | 9,647.25 |

Table 5.2: External IT support (2017-2022)

## Data security and management

The institution currently lacks an antivirus program, and the limited use of such software is reported on a few subsidiary devices. The presence of voltage regulators, including both offline and online UPS, ensures stable power supply. The institution has three authorized backup operators who perform regular backups stored in three locations. These backups are executed automatically, with the server managing the automatic backup. The last data restore occurred in September 2022 due to a server operating system upgrade. User and permissions management tasks are undertaken by two designated individuals. Notably, the institution has established recovery plans for IT systems, utilizing a backup server synchronized with the main server in a separate building. Top of Form

## Needs for IT and related office equipment

| Item | Request Reasons | Description/Specifications | Quantity | Priority |
| --- | --- | --- | --- | --- |
| Furniture and Office Equipment |  |  |  |  |
| Desks | For contracted employees | 1.6m desk with 3 drawers | 4 | High |
| Chairs | For contracted employees | Long-back swivel chair | 4 | High |
| Air Conditioner | Due to air conditioner malfunctions | 1.5-ton split air conditioner | 2 | High |
| Devices and Networks |  |  |  |  |
| Desktop Computer | For contracted employees | DDR4/HDD: 1TB SSD/DVDKB/Mouse/LED 18.5 inch | 4 | High |
| Laptop Computer | For programmers | DDR4/HDD: 1TB SSD/DVDKB/Mouse/LED 18.5 inch | 2 | High |
| Invoice Printer | Due to frequent printer failures | Matrix Printer printonix p2000 | 2 | High |
| Electric Organizer | To automatically shut down servers remotely | 3KVA On Line UPS | 2 | High |
| Backup Battery | For power continuity in case of outage | Battery 200 A/12V Tubuler Deep Cycle | 4 | High |
| Electric Charger | For power continuity in case of outage | Inverter 5 KVA/4000 Watt/48 VDC | 1 | High |
| Routers | For connecting branches and main centers | Router RB1100 × 4 Micro Tic | 1 | High |
| Network Switches | For local network in the branch | Smart Switch Giga 48 port / Gbon+ POE | 6 | High |
| Internal Wireless Modems | 0 |  |  |  |
| New or Replacement Software | To streamline and organize the process of managing subscribers and readings | Geographic Information Systems (GIS) will be implemented | 10 | High |

Table 5.3: Information technology and office needs for devices and equipment

## Proposed TA and investment measures for improving IT management

| Technical Support Needs | Priority Level | Target Categories and Details |
| --- | --- | --- |
| NVR 8 Port Support 8 MP + 8 TP HDD (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| IP Camera 4MP (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| POE Switch for Camera System (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| LED Monitor 32" (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| Quality Network Cable (2500 meters) (2 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| RJ45 CAT 6 Cable (80 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| Inverter 1600 VA 12V (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| Battery 200 Amp Tubular (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| Power Beam AC 620 (8 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| Electric Material (2 Units) | High | Sanitary Pumping Stations: Ibn Sina, Siphon, Main Sharq, Al-Bareed, Al-Sittin Villas in Bajrash, Batihaf, Fuh, Makkah Hotel |
| Dot Matrix Invoice Printer Cabinet (2 Units) | Critical | Information Technology and Management Department |

Table 5.4: Proposed TA and investment measures

# Gender Cross Cutting Issues

## Gender Issues within the Institution/Branch

### Administrative and organizational status of gender

The administrative and organizational status of the Women's Management within the water institution is as follows:

The organizational structure of the water institution includes a women's department.

There is a job description for positions within the women's department, and a copy is attached.

The women's department is active, engaging in social events, handling complaints, managing media activities, and promoting awareness.

The women's department actively participates in planning and updating strategic policies.

Female employees and managers in the women's department regularly participate in meetings of the water and environmental sanitation block and other women's networks.

There are regular meetings between the women's department and female employees in other departments to discuss various matters.

The women's department prepares a specific action plan, and a copy is attached.

The head of the women's department focuses on her duties in that department without working in other departments.

The head of the women's department has not moved to other departments.

There is a gender-classified database for female employees.

There is no specific budget allocated to the women's department, and proposals submitted for funding are often rejected.

### Presence of Women in Decision-Making Positions in the Institution/Branch

In terms of gender representation in decision-making positions within the institution or branch, the current scenario reflects a noticeable gender imbalance. There is a limited presence of women in key leadership roles. Specifically, there is one woman serving as the head of the IT department and another woman holding the position of secretary. However, in broader leadership positions such as General Manager, Department Manager, and Chief Accountant, women are currently underrepresented. This highlights the need for initiatives aimed at promoting gender diversity and ensuring equal opportunities for women to assume leadership roles within the organization.

### Special Services and Facilities for Women within the Institution/Branch

The institution/branch dedicated separate bathrooms for female employees, while noting the absence of special bathrooms for individuals with special needs due to the current lack of cases requiring such facilities. There is no designated prayer room or nursery for the children of female employees during working hours. However, the institution/branch does have a complaints office specifically for female beneficiaries, ensuring a mechanism for addressing their concerns.

### Women's Participation Procedures in Decision-Making

There are no specific conditions/criteria for the appointment of female employees.

There are no specific conditions/criteria for the appointment of female employees in decision-making positions.

There are no current mechanisms to ensure the participation of women in leadership positions in the institution/branch.

The institution/branch does not have published procedures that consider the gender perspective.

There are reasons or obstacles facing women in reaching leadership positions in the institution/branch, including gender discrimination and management bias towards hiring males for leadership positions.

There are suggestions or policies that are supposed to contribute to increasing women's participation in leadership positions and have an effective role in the institution/branch, including the issuance of clear mandatory laws to involve qualified women in leadership positions without discrimination.

### Technical assistance needs to improve gender issues

| Proposed Needs and Priorities | Priority | Target Categories and Details |
| --- | --- | --- |
| Establish an office for the management of women that accommodates its departments, sections, and committees. | Critical | Women's Management, Consumer Relations, Social Research Department, Information and Awareness Section, Awareness Committee, Complaints Committee, Training and Rehabilitation Committee. |
| Create partnerships between women's departments in water institutions nationally and internationally for exchanging experiences and developing work for the benefit of women, the institution, and connecting them to international organizations. | High | Women's Management Staff, Women's Cadre in the Institution, Women's Management Committees. |
| Integrate the department's structure and sections in line with the department's strategies and plans. | Medium | Women's Management, Social Research and Complaints Department, Information and Awareness Section. |
| Allocate a room for the care of employees' children. | Lowest | Employees' children primarily, and employees whose mothers are working. |

Table 6.1: Proposed TA and investment measures for gender issues

## Public water and sanitation services for individuals with special needs

### Water distribution points

The average distance to water distribution points is not specified.

The farthest distance to a distribution point is not specified.

Both the father and mother are considered the most concerned individuals responsible for collecting water for the family.

The time to fetch water varies depending on the regions and is specified in hours per day.

Chlorine is added to water within permissible limits (0.1 mg/L - 0.5 mg/L) to eliminate germs causing diseases. The focus is on germ elimination rather than reducing salts or elements in the water.

The public water distribution points are reservoir.

The institution is responsible for operating public distribution points.

### Public opinion about water and sanitation services

The public opinion regarding water services and sanitation is generally positive, with satisfaction reported in various aspects. In terms of water services provided by the institution or branch, there is a high level of trust and satisfaction with the quality and quantity of water. However, there are some concerns about the regularity of the service, rated as "good" rather than excellent. Additionally, the accessibility and equality aspects are considered somewhat well. In contrast, the private sector's water services are also generally rated positively, with trust, quality, quantity, and accessibility receiving positive feedback. However, the public perceives the private sector's pricing as high. It is noteworthy that the ratings are on a scale from 1 to 5, with 1 indicating excellent and 5 indicating extremely poor. Overall, both public and private sectors are viewed favorably in delivering water and sanitation services, though some improvement is suggested in specific areas.

### Status of Water and Sanitation Supplies in Public Places and Buildings

There are no separate public toilets for displaced people and refugees based on gender.

There are no available public toilets.

Priorities are given to certain beneficiaries in providing water and sanitation services.

Water services in schools, hospitals, and displaced communities consider gender differences by allocating separate bathrooms for women and men.

Groups needing special support for water and sanitation access include the elderly and people with special needs, to some extent.

In case of water interruption, people irrigate and purchase water from the private sector. Irrigation involves providing water containers distributed in neighborhoods for people to irrigate from.

### Problems of water supply and sanitation services

Schools:

Main problems: Breakage and damage to water tools and installations.

Action taken: Rehabilitating facilities (bathrooms) in schools and educational complexes.

Hospitals and Health Centers:

Main problems: Lack of cleanliness in bathrooms and damage to water tools and installations.

Action taken: Installing water tanks, constructing underground tanks, and rehabilitating sanitary facilities in hospitals.

Mosques:

Main problems: Extravagance during ablution, damage to water tools and installations, particularly in mosques affiliated with the Endowments Authority.

Action taken: Implementing comprehensive awareness programs through various media and posting informative materials in ablution areas.

Other Public Buildings:

No reported problems or actions needed.

Public Bathrooms:

Main problems: Lack of funding from the local authority.

Action taken: Partnering with the local authority in the province to adopt an operational budget for these bathrooms.

### Improvement of Water Supply and Sanitation

General Population:

Rehabilitate wells and main/sub-transport pipes for water service.

Expand and rehabilitate drainage systems, including main and sub-transport lines, transfer, and main stations for sanitation service.

Women/Children:

Improve service through families for both water and sanitation within the general population system.

Internally Displaced Persons (IDPs):

Establish water delivery systems to displacement areas.

Provide storage facilities for water.

Establish mobile bathrooms and appropriately rehabilitate existing ones for sanitation.

Refugees:

Similar measures as for IDPs: establish water delivery systems, provide storage, establish mobile bathrooms, and rehabilitate existing sanitation facilities.

People with Disabilities:

Focus on schools, associations, and autism institutions for water service.

Rehabilitate water facilities to be suitable for people with disabilities for sanitation.

### Women's effective participation in decision-making within the water and sanitation sector

Women actively engage in raising awareness about emergency needs through self-awareness programs. However, challenges such as resource limitations hinder their involvement in installing new water distribution points. Despite these obstacles, women contribute significantly to public sanitation awareness through monthly campaigns in schools. On the flip side, there is a lack of communication with upper management regarding the allocation of investments and funding. Nevertheless, there is a recognized importance of direct intervention, leading to intensified efforts and long-term awareness programs related to water and sanitation services.

### Considering Gender and Persons with Disabilities in the Design of Water and Sanitation Systems

Unfortunately, the designs of public buildings do not adequately meet the needs of women and persons with disabilities. Structural designs of water and sanitation sites also fall short of accommodating the number and specific needs of users. However, there is some consideration in the design of water distribution points, toilets, and sanitation facilities to ensure the privacy, safety, and protection of users. Nevertheless, the number and design of water collection points are not sufficient to meet the needs of women and persons with disabilities.

Special Needs Related to Water and Sanitation Services

| Special Needs | Women | Girls | Internally Displaced Persons (IDPs) |
| --- | --- | --- | --- |
| Site Selection | Women's gathering places | Schools | Informal settlements and marginalized areas |
| Needs Assessment | Surveys, field visits, and questionnaires |  |  |
| Planning | Targeting 300 women | Targeting 350 girls | Targeting 1000 families |
| Training | Raising awareness in families for optimal water use | Raising awareness in families for optimal water use | Awareness of waterborne disease risks |
| Implementation | Urban and rural areas of Al Mukalla |  |  |
| Awareness | Awareness campaigns, workshops, intensive courses |  |  |
| Participation | Civil society organizations, international organizations, others |  |  |
| Impact Assessment | Raising awareness and assessing its impact on families | Social awareness through social media platforms | Draining swamps and allocating specific areas for bathrooms |

Table 6.2: Special Needs Related to Water and Sanitation Services

### Attention to Reuse Concepts

For the use of aerobic reactor technology "Biogas," there is no interest from both women and girls due to societal awareness limitations and resource constraints. However, there is interest in the use of treated organic waste in fertilization, with the organization having a dedicated station for organic waste treatment. Regarding the reuse of treated sewage water for irrigation, there is limited interest among women, and the organization faces challenges due to the lack of transport systems.

### Donor Activities Related to Gender Issues

The activities are funded by organizations such as GTZ, UNICEF, the Yemeni Women's Union, and the National Women's Committee. The focus is on female employees of the local water and sanitation institution in the Hadramout Coast region. The activities span the years 2020, 2018, and 2022.

# Assessment of Water and Sanitation

## Water Supply and Infrastructure System

### General Situation

There are many indirect negative impacts caused by the crisis: power cuts, financial constraints (decrease in revenues), increase of the operation and maintenance cost and lack of materials due to the lack of an investment program granted from the national budget (Ministry of Finance) since 2015.

The methodology for the data collection and assessment has been presented already in Chapter 1.3 in this report. The questionnaire forms for Part B, comprised questions regarding the technical condition, availability, parameters and physical status of the utilities infrastructure. The assessment focused on the following topics:

- Water Supply and Infrastructure System

  - Water Production and Distribution

  - Infrastructure

  - Water Quality

  - Non-Revenue Water

- Sanitation System

  - Wastewater Collection

  - Wastewater Treatment

- Operation and Maintenance

- Energy Supply

Based on the provided data from the LCs, the site visit, direct discussions with the LC managers and through the feedback from the managers all the available information had been assessed and respective results are presented in the below Chapters 7.1 to 7.4. The subsequent requirements and investment needs for rehabilitation and restoration of services have been identified by the LC and were verified and completed by the Consultant. The comments from the LC on the draft investment plan were taken into consideration for the preparation of the final version as summarized in Chapter 8.

### Water production, distribution, supply system

As of 2022, 49 of the 160 existing water wells are operational, the rest (109) are an inactive well since 2017, with a production rate of 7 liters per second. Production data overall was consistent in the way it was provided in part B of the questionnaire forms. It does not reflect any effect caused by the crisis. On the contrary, the water produced quantity increased in 2022 by 17 % compared to 2017.

Additionally, the nominal water production capacity ranged from 51,518 m3/d in 2017 to 62,239 m3/d in 2022 throughout the years. The average nominal water production capacity provided by the LC is 57,248 m3/d in the six evaluated years. Details on Wells information with its specifications can be found in Appendix A-2.

The chart below demonstrates the increase in the actual/current water production over the years.

Figure 7.1: Average water production in m3/day for the years (2017 - 2022)

There is one water laboratory available for the testing and control of water. However, the consumables/chemicals are available, but they will expire if not activated due to the absence of furnishings.

There are 7 pumping station in Al-Mukalla with average capacity of water system pumping stations (pumping and booster stations) of 2,593 m3/day.

The LC keeps regular records on water production, consumption and losses. Several water meters are installed at the wells and reservoirs. Furthermore, 7 bulk water meters are installed in the network.

### Infrastructure

Buildings, administrative and technical facilities

| Purpose/Description of Building | Location/Address | Ownership | Construction Material | Area (m2) | Number of Floors | Number of Offices | Operational Status | Current Condition | Brief Explanation of Damaged Elements |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Shared Offices Building | General Administration | Owned | Iron Structure | 413 | 1 | 20 | Regularly used | partially destroyed | Iron hangar contains some completely destroyed offices and some with cracks in the iron roofs. |
| General Administration Building | General Administration | Owned | Stone + Damok | 1100 | 4 | 22 | Partially used | intact | Two floors are unfinished due to rain damage in Al-Mukalla city. |
| Collection Offices Building | General Administration | Owned | Stone + Damok | 98 | 1 | 4 | Regularly used | intact and in good condition | Some offices are in good condition. |
| Systems and Information Management Building | General Administration | Owned | Stone + Damok | 153 | 2 | 8 | Regularly used | intact | Requires maintenance and renovation due to rain damage in Al-Mukalla city. |
| East Al-Mukalla Sewer Networks Administration Building | General Administration | Owned | Stone + Damok | 115 | 2 | 6 | Regularly used | intact | Requires maintenance and renovation due to rain damage in Al-Mukalla city. |
| Projects Execution Management Building (Externally Funded) | Al-Ma'awas | Owned | Stone + Damok | 831 | 1 | 6 | Partially used | intact | Requires maintenance and renovation due to rain damage in Al-Mukalla city. |
| Water Training Center Building | Al-Harshiyyat | Owned | Stone + Damok | 135 | 2 | 6 | Partially used | partially destroyed | Various maintenance needs, including water pipe clearing, aluminum door replacement, ceiling repairs, non-functional air conditioners, insufficient air conditioners, window blinds, projector screen. |
| Field Shift Building in Thula Al-Sharqi | East Al-Mukalla | Owned | Stone + Damok | 100 | 1 | 2 | Regularly used | partially destroyed | Extensive damage in the building's roof, rendering it unsuitable for maintenance. |
| Pumping Station in Falak Al-Ma'i | East Al-Mukalla | Owned | Reinforced Concrete | 1490 | 1 | 8 | Regularly used | partially destroyed | Cracks in some office walls and floor of the pumping station. |

Table 7.1: Information on administrative buildings

More details about technical buildings and structures is founded in Appendix A-3

- Investment requirements for buildings, administrative and technical facilities

The provided investment requirements outlines various construction projects related to water infrastructure in Al-Mukalla City. The projects range from completing floors for the General Administration Building to implementing protection works for water lines, constructing hangars, building rooms for specific purposes, and leveling project sites. Each entry includes details on the location, the scope of work, units, quantities, estimated total cost in USD, and priority.

Key projects involve protection works for water lines in different areas, construction of hangars with varying dimensions, and building rooms for specific purposes like chlorine workers, shift workers, and guard rooms. Additionally, there are projects for leveling sites, repairing damages to elevated tanks, and constructing a 12,000 cubic meter capacity tank in Boueish.

The detailed breakdown of costs and priorities provides insights into the diverse range of initiatives aimed at enhancing water infrastructure and related facilities in Al-Mukalla City. The projects address specific needs in various locations, contributing to the overall improvement of water and sanitation services in the region. More details about for these investments is founded in Appendix A-7

- Water supply infrastructure and management

The following table is an overview of the available water infrastructure and facilities as of 2017 compared to 2022.

| Description / Facility | Unit | 2017 | 2022 |
| --- | --- | --- | --- |
| Public water distribution points | No | 0 | 0 |
| Main source of water supply (SW or GW) |  | GW | GW |
| Number of distinct supply zones | No | 6 | 7 |
| Total number of boreholes | No | 131 | 160 |
| Boreholes in operation (=borehole pump no) | No | 39 | 49 |
| Ground Reservoirs | No. /m3 | 12/13,650 | 12/13,650 |
| Elevated Tanks | No. /m3 | 1/500 | 1/500 |
| Nominal water production capacity | m3/d | 2,147 | 2,593 |
| Water sterilization facilities | No. | 3 | 3 |
| Current water production capacity | m3/d | 2,147 | 2,593 |
| Total no. of domestic water meters installed | No | 55,301 | 61,273 |
| Total no. of functioning domestic water meters | m | 51,192 | 55,932 |
| Length of the water supply network | km | 2,122.63 | 2,274.55 |
| Total nos. of bulk water meter | No | 5 | 7 |
| Water Laboratory | No | N/A | 1 |

Table 7.2: Overview of available water infrastructure

- Ground and elevated water reservoirs

The data related to reservoirs focuses on compiling data regarding both ground and tower water tanks. The detailed table within the document presents information on 13 specific tanks, including their names or locations, construction dates, building materials, types (ground or tower), purposes (collective or distributive), capacities in cubic meters, current conditions, and operational statuses. Noteworthy tanks listed in the dataset include Al-Nuqaa, Haweera, Falak, Sadd, Al-Buqreen, Al-Amal, Green Mountain, Behind, Zaman, Al-Taweela, Al-Tala'a, and Ibn Sina. Additional fields for notes and observations are provided, encouraging the inclusion of relevant

details, such as the overall condition, operational status, and any specific notes regarding the tanks. The document underscores the significance of providing comprehensive data for all tanks and allows for the addition of new information if necessary. Dropdown menus facilitate standardized responses for certain fields, ensuring consistency in data collection and reporting.

- Water Distribution

From the 449,193 residents in LC Al-Mukalla in 2022, about 92 % respective Al-Mukalla people are supplied through 7 supply zones and there are about 3,100 residents whom served by private sector (mobile tanks). The water supply is 7 hours per day. According to the LC the number of main functioning water meters is 7.

- Water supply network

The water supply network at LC Al-Mukalla is 2,274.55 Km (transmission and distribution) long with diameters of 0.5” to 28”, and comprises 55,932 water house connections for distribution lines.

The network and transmission line from years of 1965 1996 are suffering from the repeated blockages because the pipes are almost dilapidated. The following table represent samples of water supply network details:

| Distribution area | Water Network Components | Instal-lation Date | Dia-meter | Material | Unit | Quantity (Km) | Operatio-nal Status | Physical Condition |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Al-Falak Wells Field / Central Al-Mukalla City | Ductile Iron Water Pipes | 2012 | 200 mm | Ductile Iron | Linear Meter | 1,200 | Working well | Intact |
| Al-Falak Wells Field / Central Al-Mukalla City | Ductile Iron Water Pipes | 2012 | 150 mm | Ductile Iron | Linear Meter | 2,200 | Working well | Intact |
| From Al-Falak Wells Field to Central Al-Mukalla City / Central Al-Mukalla City | Ductile Iron Water Pipes | 2012 | 700 mm | Ductile Iron | Linear Meter | 26,500 | Working well | Intact |
| Al-Nuqaa Wells Field / East and Central Al-Mukalla City | Asbestos Water Pipes | 1996 | 400 mm | Asbestos | Linear Meter | 1,775 | Working well | Partially deteriorated |
| Al-Nuqaa Wells Field / East and Central Al-Mukalla City | Asbestos Water Pipes | 1996 | 300 mm | Asbestos | Linear Meter | 425 | Working well | Partially deteriorated |
| Al-Nuqaa Wells Field / East and Central Al-Mukalla City | Asbestos Water Pipes | 1996 | 150 mm | Asbestos | Linear Meter | 350 | Working well | Partially deteriorated |
| From Al-Nuqaa Wells Field to East and Central Al-Mukalla City / East and Central Al-Mukalla City | Asbestos Water Pipes | 1996 | 600 mm | Asbestos | Linear Meter | 33,193 | Working well | Partially deteriorated |
| From Al-Nuqaa Wells Field to East and Central Al-Mukalla City / East and Central Al-Mukalla City | Asbestos Water Pipes | 1996 | 500 mm | Asbestos | Linear Meter | 14,973 | Working well | Partially deteriorated |

Table 7.3: Details of existing water supply network

- Electro-mechanical (EM) facilities for the water supply system (water resources and pumping station)

Here's a summary with key numerical information:

- Total Entries: There are 53 entries detailing various pump installations in water production units and pumping stations.

- Pump Types: The pumps vary across different types, such as submersible, horizontal, and vertical pumps.

- Manufacturer Diversity: Various manufacturers, including Grundfos, Calpeda,  and Lowara are involved in producing these pumps.

- Operational History: The pumps have been in operation for varying periods, ranging from a few months to 26 years.

- Current Productivity: Current productivity levels range from 22.8 m³/h to 96 m³/h.

- Total Lift: The total lift values vary, with the highest being 155 meters.

- Installation Depth: The depth of pump installation ranges, with the deepest being 150 meters.

- Pipe Types and Diameters: Lift pipes vary in type (plastic, iron) and diameter (3 to 6 inches).

- Current Operational Status: The pumps are categorized based on their current operational status, ranging from excellent to completely non-functional.

- Performance Levels: Performance levels are rated from 1 to 4, with 1 being excellent and 4 indicating a pump that is stopped and out of service.

- Water disinfection and treatment units

General data for water sterilization units

| Unit Name or Number | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5 | Unit 6 | Unit 7 | Unit 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Installation Location | Al-Mukalla - Al-Ma'awas | Al-Mukalla - Zaman | Al-Mukalla - Fawwah | Ghail Bawazir | Ash-Shahr | Ar-Raida Al-Sharqiyah | Qishnir | Al-Mukalla - Thulla |
| Disinfection System Type Used | Manual | Manual | Manual | Manual | Manual | Manual | Manual | Manual |
| Model | NA | NA | NA | NA | NA | NA | NA | NA |
| Manufacturer | German | German | German | German | German | German | German | German |
| Service Life or Operation Date | NA | NA | NA | NA | NA | NA | NA | NA |
| Avg. Disinfected Water Quantity per Month (m³/month) | 1,147,860 | 336,240 | 175,680 | 4,688,720 | 522,900 | 162,000 | 180,720 | 336,240 |
| Max. Disinfection Unit Capacity (m³/hour) | 1200-800 | 467 | 244 | 651 | 72,625 | 225 | 251 | 437 |
| Chemicals Used | Chloramine | Chloramine | Chloramine | Chloramine | Chloramine | Chloramine | Chloramine | Chloramine |
| State of Used Chemicals (Powder/Liquid/Gas) | Powder | Powder | Powder | Powder | Powder | Powder | Powder | Powder |
| Chemicals Added/Consumed (mg/L)/(g/m³) | Chloramine liters/hour | Chloramine liters/hour | Chloramine liters/hour | Chloramine liters/hour | Chloramine liters/hour | Chloramine liters/hour | Chloramine liters/hour | Chloramine liters/hour |
| Electric Motor Capacity (kW) | NA | NA | NA | NA | NA | NA | NA | NA |
| Energy Source | Public | Public | Public | Public | Public | Public | Public | Public |
| Current Status | Good and Acceptable | Good and Acceptable | Good and Acceptable | Good and Acceptable | Good and Acceptable | Good and Acceptable | Good and Acceptable | Good and Acceptable |
| Performance Level | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning | Weak and Frequently Malfunctioning |
| Reasons for Shutdown (for Equipment Out of Service) | Unavailability of spare parts | Unavailability of spare parts | Unavailability of spare parts | Unavailability of spare parts | Unavailability of spare parts | Unavailability of spare parts | Unavailability of spare parts | Unavailability of spare parts |

Table 7.4: Details of water sterilization units

The institution didn’t make any chemical and physical treatment processes of drinking water, except of water disinfection system that faces several challenges, such as the lack of examination materials, equipment, and transportation, as well as considerable distances between the central facility and its branches. Water quality monitoring is reported to be performed to some extent, with limitations due to resource constraints. Shutdowns in disinfection operations have occurred due to the expiration of chlorine and a shortage of pump spare parts. The testing of residual chlorine is limited by factors such as the absence of independent transportation for the laboratory. Safety procedures for handling disinfection materials are generally in place, though there is a need for safety training. Control systems for treatment units face challenges, with a reliance on maintaining older systems. The periodic maintenance of units is hindered by a lack of specialized technicians and spare parts. Despite these challenges, daily operation records do reflect chemical doses and quantities used in disinfection processes. The biological water quality is impacted by coliform bacteria and E. coli, and physical/chemical quality is influenced by elements such as iron, manganese, sulfates, calcium hardness, magnesium, chloride, nitrates, and fluoride. The methods employed for improvement primarily involve chlorination and mixing water to achieve moderately composed water close to local standards.

Laboratories

- Water laboratories information and operational capacity

The institution has a water laboratory with a suitable facility and necessary equipment for quality testing of drinking water. However, there is a deficiency in some devices, and the laboratory lacks suitable furniture.

While there are consumables available to some extent, there is sufficient power supply. The laboratory has specialized personnel, though they require training and qualification. Safety tools and emergency requirements are partially available.

The laboratory disposes of its waste after treatment through the sewer system using a traditional method and equipment calibration is performed regularly. The laboratory conducts both biological and chemical tests, including tests for T.coliform, E.coli, and various chemical parameters such as T.H, CaH, Mg, T.Alk, Cl¯, So4¯¯, Na+, K+, No3, F¯, Fe++, and Mn++ .

- Sanitation laboratories information and operational capacity

While the organization or branch possesses a sewage laboratory, its functionality is hindered by the absence of furniture. The laboratory has a designated building for both drinking water and sewage labs, with available space. Although necessary testing equipment and consumables are on hand, the laboratory remains inactive, risking the expiration of consumables. Despite a sufficient power supply, frequent interruptions impede testing, particularly for the BOD examination, as there is no solar power system. The laboratory employs specialized personnel, but urgent qualification and training are required. Safety tools, including fire extinguishers, are partially available. Unfortunately, waste disposal systems are non-operational due to the lack of laboratory furniture. As a result, equipment calibration, biological, and chemical tests are not conducted, leaving the specific tests conducted by the laboratory unspecified. Overall, the laboratory faces challenges in achieving its full operational potential, emphasizing the need for essential resources and activation. Detailed investment requirements for Water and Sewage Laboratories can be found in Appendix A-7.

### Quality and management

Water Production Monitoring

The institution employs meters to measure water production, with 90% of the production measured by functional meters. The quantity of water production is documented manually through daily records. However, the current water sources are insufficient to meet present and future demands. To address this, the institution focuses on reducing water loss percentages and exploring alternative sources, though limitations exist due to inadequate equipment. Plans involve rehabilitating and developing existing wells and seeking new water sources. Notably, the management of groundwater information and its impact on planning is hindered by the inactivation of the Water Resources Management department.

Water source quality and monitoring

The institution's wells and sources are not located in protected areas, as the boundaries and prohibitions for well fields have not been defined. Approximately 40% of well fields are exposed to pollution, particularly those situated in valleys, where the risk of contamination is high due to the penetration of valley stones. These fields are susceptible to pollution from sewage discharged directly into the valleys. Water quality is deemed suitable, with no indications of degradation over time. Despite this, there is no current plan to address potential water quality issues or to explore new sources or treatment changes. The well sites are prone to flooding, and there is no regular maintenance of the wells, which poses a risk to water quality.

Water resource management

The wells face water-related conflicts primarily linked to site ownership issues, requiring intervention from local authorities to propose suitable solutions and address problems associated with ownership or other anticipated issues. There is no regulatory body overseeing groundwater legislation, leading to a lack of coordination between the institution and the General Authority for Water Resources at the provincial level. Mandatory legal procedures for allocating groundwater and resolving conflicts among users do not exist. However, there is some coordination and collaboration between the institution/branch and the General Authority for Water Resources. A community-based water basin committee does not exist, and there is no information on water sources used by private water service providers or water transportation by trucks. No other sectors currently benefit from the same water sources.

### Non-Revenue Water

- Water consumption service areas data

There was considerable change in the water production during the assessed years which increased by 16 %, but the impact of crisis is not considerable on the consumption per capita per day which remains constant  of 72 lpcd, Compared to the average consumption in Yemen with 49 lpcd, the supply situation in Al-Mukalla is relatively good. The water losses decreased from 45 % in 2017 to 37 % in 2022.

However, the table below shows water balance for the years (2017-2022).

| Description | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- |
| water production(m3/year) | 16,778,408 | 16,848,633 | 17,899,136 | 18,573,549 | 19,916,494 | 19,882,999 |
| water consumption (m3/year) (billing ) | 9,300,689 | 10,018,434 | 10,786,477 | 11,317,900 | 12,094,231 | 12,480,918 |
| Nos of connection | 49,512 | 51,684 | 54,580 | 57,042 | 59,245 | 61,273 |
| The total quantity of water supplied by water transport trucks (tankers) (m3) | 10,950 | 13,140 | 19,060 | 18,250 | 20,440 | 22,630 |
| Nos. of supplied population | 331,493 | 346,634 | 362,467 | 379,024 | 396,337 | 414,440 |
| water consumption lpcd | 72 | 72 | 72 | 72 | 72 | 72 |
| NRW in m3/year | 7,477,719.00 | 6,876,852.31 | 7,112,659.00 | 7,255,648.50 | 7,822,262.50 | 7,402,081.00 |
| % of total water losses | 44.57 | 40.70 | 39.74 | 39.06 | 39.28 | 37.23 |

Table 7.5: Water balance for the years (2017-2022)

## Sanitation system

### General data of the wastewater system, sewer network

In 2022, from the 449,193 residents in LC Al-Mukalla, about 63.9 % respective Al-Mukalla people are served through the public sewer network and none are served by other providers. More details are provided in Table 7.6.

| Description / Facility | unit | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total Population | No. | 362,826 | 378,423 | 394,808 | 411,904 | 429,739 | 449,193 |
| Population served by the institution/branch | No. | 231,346 | 241,919 | 268,765 | 274,500 | 274,500 | 286,866 |
| Total area covered by the services provided by the institution/branch | Km² | 83,631 | 86,664 | 88,887 | 91,447 | 94,609 | 99,067 |
| Total area served by the institution/branch | Km² | 23,979 | 24,848 | 25,485 | 26,220 | 27,031 | 28,305 |
| Average number of people in water connections | No. | 7 | 7 | 7 | 7 | 7 | 7 |
| Total population served by other service providers | No. | N/A | N/A | N/A | N/A | N/A | N/A |
| Area served by other service providers | Km² | N/A | N/A | N/A | N/A | N/A | N/A |
| Number of connections served by the institution/branch through the sewage network | No. | 33,322 | 34,352 | 35,923 | 36,270 | 41,139 | 42,143 |
| Number of connections served by the institution/branch through septic tank trucks (whitats) | No. | N/A | N/A | N/A | N/A | N/A | N/A |
| Number of connections served by the institution/branch through digestion tanks (septic tanks) | No. | N/A | N/A | N/A | N/A | N/A | N/A |
| Type of Sewer Collection and Transport System | System | Separate | Separate | Separate | Separate | Separate | Separate |
| Total Length of Sewer Network | m | 296,633 | 296,633 | 296,633 | 296,633 | 296,633 | 296,633 |
| Length of Gravity Sewer Network | m | 275,000 | 275,000 | 275,000 | 275,000 | 275,000 | 275,000 |
| Length of Main Sewer Pipes (Pressurized Pipes) | m | 21,663 | 21,663 | 21,663 | 21,663 | 21,663 | 21,663 |
| Total Number of Sewage Treatment Plants | count | 1 | 1 | 1 | 1 | 1 | 1 |
| Total Number of Sewage Pumping Stations | count | 10 | 10 | 10 | 10 | 10 | 10 |
| Number of Main Flow Meter Installed in Sewer Network and Treatment Plants | count | 1 | 1 | 1 | 1 | 1 | 1 |
| Nominal Capacity of Sewage Pumping Stations | m³/day | 3168 | 3168 | 3168 | 3168 | 3168 | 3168 |
| Current Capacity of Sewage Pumping Stations | m³/day | 3168 | 3168 | 3168 | 3168 | 3168 | 3168 |
| Number of Manholes in Sewer Collection and Transport System | count | 5,300 | 5,300 | 5,300 | 5,300 | 5,300 | 5,300 |
| Total Design Flow Capacity for Daily Wastewater Entering All Sewage Treatment Plants | m³/day | 2 | 2 | 2 | 2 | 2 | 2 |
| Quantity of Current Wastewater (Actual) at the Inlet of All Sewage Treatment Plants | m³/day | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 | 1.68 |
| Number of Analysis Tanks (Anaerobic), Inspection Tanks, etc. per Area if Available | count | 4 | 4 | 7 | 14 | 15 | 20 |
| Quantity of Wastewater and Sludge from Other Systems at Sewage Treatment Plants | m³/day | NA | NA | NA | NA | NA | NA |
| Number of Primary Treatment Tanks (in Hospitals, Slaughterhouses, Factories, Laboratories, etc.), if Available | count | 0 | 0 | 0 | 0 | 0 | 0 |
| If There Are No Safe Systems for Disposal and Treatment of Wastewater, How Is Wastewater Collected and Disposed? | Not Applicable | NA | NA | NA | NA | NA | NA |
| Total Number of Requests for Pumping and Emptying Sewage from Other Systems, e.g., Pits and Anaerobic Tanks | count | 1,060 | 1,200 | 1,300 | 1,380 | 1,470 | 1,632 |
| Percentage of Wastewater Treated Properly from the Total Treated Wastewater Quantity | % | NA | NA | NA | NA | NA | NA |

Table 7.6: General data of the sewerage system

Here is a sample of the sewer collection and transmission network information in LC Al-Mukalla, more details in Appendix A-4.

| Components of Sewage Network | Sewage System | Collection Lines / Transmission Lines | Installation Date | Installation Area | Diameter | Material | Quantity | Operational Status | Current Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manholes + Sewage Network Lines | Separate | Sewage Networks | 2002 | Ba'aboud - Al-Shafei | 150 - 100 mm | UPVC | 200 | Partially Operational | Semi-Deteriorated |
| Manholes + Sewage Network Lines | Separate | Sewage Networks | 2005 | Ba'aboud behind Ba'aboud Cemetery | 160 - 100 mm | UPVC | 250 | Partially Operational | Semi-Deteriorated |

Table 7.7: Sewer network components

### Sewage treatment plants and design standards

Al-Mukalla Station utilizes a primary treatment system with three stages involving settling tanks, test basins, maturation basins, and chlorination basins. The energy source is unspecified, and the current condition is described as being in good and acceptable condition, with an operational status indicating that the station is currently functioning.

Design standards for sewage treatment encompassing parameters such as daily flow averages, organic load, population-connected load, average wastewater output per person, oxygen requirements, chemical oxygen demand, total suspended solids, ammonia content, total nitrogen compounds, and designed phosphorus content is not available for the station  due to the non-operation of the sewage laboratory. The treated sewage water is discharged into the sea, and the method of discharge involves a transmission line with a diameter of 400 mm.

### Operation management of a sewage treatment station

The station handles untreated industrial wastewater and experiences continuous pump operation due to frequent power outages. The produced sludge is discharged into the sea without sampling, attributed to the absence of a sewage laboratory at the station. Periodic tests for treated sewage and sludge reuse are not conducted due to the lack of an effective laboratory. The station lacks a maintenance and operation guide, documented procedures for problem resolution, and a sufficient stock of spare parts. Safety measures for workers are limited, and there is no gas detection system or control unit for odor and noise spread.

Detailed electro-mechanical equipment for Sewage System information is provided in Appendix A-5.

## Operation and Maintenance

### Operation and Maintenance (O&M) management

Water Supply Operations Management:

- Lack of a water production plan based on demand management policies and actual needs assessment.

- Inadequate adherence to specified procedures in the existing water production plan.

- Manual record-keeping for monitoring and supervising system operations.

- Documentation for machinery and equipment operation relies on manual records.

- Absence of automation systems, such as SCADA, for controlling equipment.

- No historical records available for important equipment.

- Workforce challenges include outdated and insufficient occupational safety tools.

- Shortage of workers and operational difficulties between wells.

- Insufficiently qualified staff for operating and managing water production and distribution machinery and equipment.

- Addressing these issues is crucial for improving the overall efficiency and effectiveness of the water supply system.

Water Supply Maintenance Management:

This report evaluates the maintenance management practices in the water production and distribution system. Key findings are as follows:

- Maintenance Plan: No documented and comprehensive maintenance plan for electromechanical equipment, auxiliary means, and assets used in water production and distribution.

- Qualified Maintenance Staff: Adequate staff for various maintenance operations, but the available team is insufficient.

- Maintenance Workshop: A dedicated maintenance workshop is available for the water system.

- Workshop Equipment: The workshop lacks sufficient tools, devices, inspection, and measurement equipment needed for maintenance.

- Maintenance Documentation: No archived technical drawings, operation manuals, and maintenance guides for water system equipment.

- Adherence to Manufacturer Recommendations: Preventive maintenance recommendations from manufacturers are implemented for main equipment.

- Coding and Numbering System: No coding and numbering system for machines and equipment, and no individual cards with essential data for each machine or device.

- Maintenance Records Archive: Manual records are maintained for various maintenance operations.

- Emergency Maintenance Response Time: Emergency maintenance response time ranges from one to twelve hours depending on the type and size of the malfunction.

- Preventive Maintenance Timing: Preventive maintenance related to the water system is conducted on schedule.

- Quality and Efficiency Standards: Adherence to quality, efficiency, and effectiveness standards in water system maintenance operations.

- Availability of Safety Materials: Safety materials, equipment, and tools are available for workers in the water system.

- Adherence to Safety Rules: Safety rules and instructions are generally followed during maintenance activities.

- Challenges: Challenges faced by the maintenance team include outdated and insufficient safety tools, a shortage of workers, and operational difficulties between wells.

These findings provide valuable insights for enhancing the maintenance management practices in the water production and distribution system. Recommendations include implementing a documentation system, exploring cost-effective safety solutions, and addressing logistical challenges faced by the maintenance team. These measures will contribute to a more efficient and effective operation of the water system.

Sewage System Operation Management:

- Sewage Collection Plan: No plan for collecting and transporting sewage water based on an actual needs assessment.

- Adherence to Plan Procedures: Not following the specified procedures in the sewage collection and transportation plan due to areas with sewage collection falling outside the geographical scope of the institution.

- Control and Monitoring Procedures: No procedures for controlling and monitoring the operation of the sewage collection and transportation system according to the prepared plan. The areas where sewage water is transported are beyond the institution's scope.

- Documentation System: No documentation system for the operation of machines and equipment used in sewage collection and transportation.

- Automation Systems: No automated systems for controlling the operation of machines and equipment in sewage collection and transportation, such as SCADA systems.

- Qualified Staff: Insufficiently qualified staff for operating and managing the machines and equipment used in sewage collection and transportation.

Sewage System Maintenance Management:

- Sewage Maintenance Plan: No documented and comprehensive maintenance plan for all equipment and machinery in the sewage collection and transportation network.

- Qualified Staff: Insufficiently qualified staff to carry out various maintenance operations necessary for the equipment and machinery used in the sewage collection and transportation network. Maintenance is conducted through specialized workshops.

- Maintenance Workshop: No maintenance workshop specifically for the sewage collection and transportation network.

- Equipment and Tools: The workshop is not equipped with all the necessary tools, inspection devices, measuring devices, and materials for maintenance work. There is a lack of sufficient equipment for maintenance.

- Documentation in Maintenance Archive: No copies of technical drawings for sewage networks, operation and maintenance documents, specific equipment manuals, and machinery used in sewage collection and transportation in the maintenance archive.

- Manufacturer Recommendations: Manufacturer recommendations regarding preventive maintenance are implemented, at least for the main equipment in the sewage collection and transportation network.

- Coding System: No coding and numbering system for machines and equipment in the sewage collection and transportation network. There is no specific card for each device or machine containing all the basic data.

- Archiving Maintenance Operations: There is an archive system for different maintenance operations (emergency and preventive) for machines and equipment used in the sewage collection and transportation network. Documentation is done manually and stored in stores and assets.

- Emergency Maintenance Time: It takes a week to provide the requirements for implementing emergency maintenance operations related to sewage collection and transportation.

- Preventive Maintenance Timing: Preventive maintenance work related to sewage collection and transportation is not carried out on time due to a lack of financial resources for equipment maintenance.

- Quality Standards: Quality, efficiency, and competence standards are considered when carrying out maintenance work in the sewage collection and transportation network.

- Safety Materials: Safety materials, equipment, and tools are not available for workers in sewage collection and transportation operations due to a lack of financial resources for providing professional safety tools.

- Safety Rules Compliance: Safety rules and professional instructions are not always followed during maintenance operations in sewage collection and transportation due to the unavailability of professional safety tools.

- Challenges: The maintenance team faces challenges such as the lack of financial resources for maintenance, the unavailability of equipment and machinery, and the absence of professional safety tools.

Operation and Maintenance Management - Stormwater Drainage System

Firstly, the institution lacks a common network for sewage and rainwater drainage. There are no structures in the sewage system designed to manage stormwater flow, and the sewage treatment plant's capacity is not intended for rainwater accommodation.

The impact of rainwater torrents during heavy rainfall seasons includes the filling of non-tightly closed chambers and the washing away of sewage lines, especially in elevated areas. Challenges faced by the institution include citizens opening inspection chambers, leading to rainwater leakage and recurrent blockages due to soil and stone entry.

The institution employs mechanisms and procedures to address rainwater flooding impacts, such as performing filtering works and removing blockages caused by soil and stones. However, the sewage treatment plant has been out of readiness since its operation.

In response to heavy rainfall events in urban areas, the institution participates by pumping rainwater from public areas using suction trucks and mobile pumps. Despite these efforts, there are no specific regulations or guidelines for managing rainwater.

The responsible government entity for managing and maintaining rainwater drainage infrastructure is the Public Works and Sewage authority. The institution works on suctioning rainwater from main and sub-streets, highlighting the challenges faced in coordinating with the responsible authority.

In summary, there is needs for a comprehensive strategy, infrastructure improvements, and coordination with relevant authorities to address the challenges effectively.

An Inventory of heavy machinery, transportation, and logistic support for the operation and maintenance of water supplies and sewage systems requirements is provided in Appendix A-7.

Inventory of Heavy Machinery, Transportation, and Logistic Support for the Operation and Maintenance of Water Supplies and Sewage Systems

| Equipment Name/Number | Manufacturer/Model | Year of Manufacture | Quantity | Management/Department (Water/Sewage) | Service Life/Start Date of Operation | Current Status (2) | Performance Level (3) | Reasons for Decommissioning (for out-of-service equipment) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Excavator/Loader | JCB / 3cx | 2002 | 2 | Water Distribution Management | 2003 (20 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | East and West of Al-Mukalla City |
| Tow Truck (Crane) | Isuzu / Tadano | 2005 | 1 | Water Distribution Management | 2006 (17 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | Al-Mukalla City |
| Flatbed Truck (Dyna) | Isuzu | 1999 | 1 | Water Distribution Management | 2000 (23 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | East of Al-Mukalla City |
| Double Cabin Truck | Nissan | 2008 | 1 | Water Distribution Management | 2008 (15 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | East of Al-Mukalla City |
| Double Cabin Truck | Toyota / Hilux | 1996 | 1 | Water Distribution Management | 1997 (26 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | Central Al-Mukalla City |
| Double Cabin Truck | Toyota / Hilux | 1996 | 1 | Water Distribution Management | 1997 (26 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | Preventive maintenance in Al-Mukalla City |
| Pickup Truck | Toyota / Hilux | 2002 | 1 | Water Distribution Management | 2003 (20 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | West of Al-Mukalla City |
| Pickup Truck | Mitsubishi | 2001 | 1 | Water Distribution Management | 2003 (22 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | West of Al-Mukalla City |
| Suzuki Pickup | Suzuki | 2002 | 2 | Subscribers | 2022 (21 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Mitsubishi Pickup | Mitsubishi | 1995 | 1 | Subscribers | 1995 (28 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Sedan Car | Toyota | 2007 | 1 | Projects | 2007 (16 years) | Good | Good | - | General Administration |
| Nissan Hilux | Nissan | 2016 | 1 | Projects | 2016 (7 years) | Good | Excellent | - | General Administration |
| Zizo Car | Zizo | 2018 | 1 | Technical | 2018 (5 years) | Excellent | Excellent | - | General Administration |
| Zizo Car | Zizo | 2018 | 1 | Resources | 2018 (5 years) | - | - | - | General Administration |
| Diesel Pump Truck | Mercedes | 2005 | 9 | Sewage Networks | 2005 (19 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | East and West of Al-Mukalla City |
| Dina Truck | Kia | 2005 | 1 | Sewage Networks | 2005 (19 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | West of Al-Mukalla City |
| Dumper | - | 2005 | 1 | Sewage Networks | 2000 (23 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | West of Al-Mukalla City |
| Corolla Taxi | Toyota | 2003 | 1 | Human Resources | 2003 (20 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Sedan Car | Toyota | 1996 | 1 | Human Resources | 1996 (27 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Hilux Car | Toyota | 1991 | 1 | Human Resources | 1991 (32 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Diesel Transport Pump | Zizo | 2005 | 1 | Human Resources | 2005 (19 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Diesel Transport Pump | Mitsubishi | 2017 | 1 | Human Resources | 2017 (6 years) | Good | Good | - | General Administration |
| Zizo Truck | Zizo | 2018 | 1 | Human Resources | 2018 (5 years) | Excellent | Excellent | - | General Administration |
| Hilux Car | Toyota | 2006 | 2 | Water Sources | 2006 (18 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | East and West of Al-Mukalla City |
| Zizo Crane Truck | Zizo | 1996 | 1 | Stations | 1996 (27 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | Stations Management |
| Hilux Car | Toyota | 2003 | 2 | Workshop | 2003 (20 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Nissan Hilux | Nissan | 2006 | 2 | Workshop | 2006 (18 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Zizo Flatbed Truck | Zizo | 1996 | 1 | Workshop | 1996 (27 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |
| Dina Crane Truck | Zizo | 2005 | 2 | Workshop | 2005 (19 years) | Deteriorated | frequently malfunctions | Old with frequent breakdowns | General Administration |

Table 7.8: Tools, Equipment, and Heavy Transport

## Energy Supply

### General information and data on energy sources for water supply system

| Statement | Unit | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of Electric Motors and Pumps Installed for Water Supply System | No. | 39 | 39 | 43 | 44 | 45 | 49 |  |
| Total Capacity of Electric Motors and Pumps Installed for Water Supply System | Kilowatts | 111 | 111 | 111 | 259 | 259 | 259 |  |
| Total Electrical Energy Requirement for All Water Production and Distribution Systems | Kilowatt-hours | 1719 | 1719 | 1846 | 1876 | 1906 | 2091 |  |
| Total Number of Generators Installed for Water Supply System | No. | 16 | 16 | 16 | 16 | 16 | 16 |  |
| Total Capacity of Generators Installed for Water Supply System | Kilovolt-Amperes | 9334 | 9334 | 9334 | 9334 | 9334 | 9334 |  |
| Number of Operating Generators for Water Supply System | No. | 9 | 9 | 9 | 9 | 9 | 9 |  |
| Total Capacity of Operating Generators Installed for Water Supply System | Kilovolt-Amperes | 4560 | 4560 | 4560 | 4560 | 4560 | 4560 |  |
| Number of Hours of Operation for Operating Generators for Water Supply System | Hour | - | 10,053 | 18,338 | 15,573 | 17,228 | 21,898 |  |
| Total Electrical Energy Produced by Institution/Branch Generators for Water Supply System | Kilowatt-hours | - | 2,502,024 | 4,684,220 | 4,220,020 | 4,572,496 | 4,395,826 |  |
| Quantity of Diesel Consumed by Operating Generators for Water Supply System | Liters | - | 841,260 | 1,586,806 | 1,448,427 | 1,643,033 | 2,451,252 |  |
| Total Cost of Diesel Consumed for Generators for Water Supply System | Riyals | - | 673,008,000 | 1,269,444,800 | 1,158,741,600 | 1,314,426,400 | 1,961,001,600 |  |
| Number of Solar Power Systems for Water Supply System | Number | _ | _ | 12 | 13 | 13 | 14 | Water Fields (12), Nuqaa Station (562.32), Thula Station (537.20), Al Adhibah Well (52.08) |
| Total Capacity of Solar Power Systems for Water Supply System | Kilowatts | _ | _ | 562.32 | 1,099.52 | 1,099.52 | 1,151.60 | Nuqaa Station (562.32), Thula Station (537.20), Al Adhibah Well (52.08) |
| Number of Operating Hours of Solar Power Systems for the Water System | Hours | _ | _ | 342.00 | 2,316.00 | 4,164.00 | 5,478.00 | Nuqaa Project opened on October 31, 2019, Thula Station on November 30, 2020, and Al Adhibah Well on June 1, 2022 |
| Total Electric Power Produced by Solar Power Systems for the Water System | Kilowatt-hours | _ | _ | 93,024.00 | 641,697.00 | 1,286,163.00 | 1,348,113.00 | Total Electric Power Produced by Solar Power Systems for the Water System |
| Total Number of Electric Transformers for the Water System | Number | 49 | 49 | 51 | 51 | 51 | 51 | - |
| Total Electric Power Supplied from the Public Grid for Water System Operation | Kilowatt-hours | 5,848,756 | 5,848,756 | 4,833,721 | 5,055,740 | 4,905,429 | 4,395,826 | Total Electric Power Supplied from the Public Grid for Water System Operation |
| Cost of Electric Power Supplied from the Public Grid for Water System Operation | Riyals | 175,462,680 | 175,462,680 | 145,011,630 | 151,672,200 | 147,162,870 | 439,582,600 | - |
| Electric Power Purchased from the Private Sector for Water System Operation | Kilowatt-hours | NA | NA | NA | NA | NA | NA | - |
| Cost of Electric Power Purchased from the Private Sector for Water System Operation | Riyals | NA | NA | NA | NA | NA | NA | - |

Table 7.9: Electrical power of water supply system

### General information and data on energy sources for sanitation system

| Statement | Unit | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Number of Electric Motors and Pumps Installed in the Sewage Collection and Treatment System | Number | 8 | 8 | 8 | 8 | 8 | 8 |
| Total Power of Electric Motors Installed in the Sewage Collection and Treatment System | Kilowatts | 2,320 | 2,320 | 2,320 | 2,320 | 2,320 | 2,320 |
| Total Electric Power Requirement for All Sewage Collection and Treatment Systems | Kilowatt-hours | 1,073 | 1,073 | 1,073 | 1,073 | 1,073 | 1,073 |
| Total Number of Generators Installed in the Sewage Collection and Treatment System | Number | 8 | 8 | 8 | 8 | 8 | 8 |
| Total Capacity of Generators Installed in the Sewage Collection and Treatment System | Kilovolt Amperes | 2,400 | 2,400 | 2,400 | 2,400 | 2,400 | 2,400 |
| Number of Operating Generators in the Sewage Collection and Treatment System | Number | 8 | 8 | 8 | 8 | 8 | 8 |
| Capacity of Operating Generators Installed in the Sewage Collection and Treatment System | Kilovolt Amperes | 2,400 | 2,400 | 2,400 | 2,400 | 2,400 | 2,400 |
| Number of Operating Hours of Generators in the Sewage Collection and Treatment System | Hours | 3,920 | 3,920 | 3,920 | 3,920 | 3,920 | 3,920 |
| Total Electric Power Produced by Generators for Sewage Collection and Treatment System | Kilowatt-hours | 2,400 | 2,400 | 2,400 | 2,400 | 2,400 | 2,400 |
| Quantity of Diesel Consumed by Operating Generators for Sewage Collection and Treatment System | Liters | 696,000 | 696,000 | 696,000 | 696,000 | 696,000 | 696,000 |
| Total Cost of Diesel Consumed by Generators for Sewage Collection and Treatment System | Riyals | 556,800,000 | 556,800,000 | 556,800,000 | 556,800,000 | 556,800,000 | 556,800,000 |
| Number of Solar Power Systems for Sewage Collection and Treatment System | Number | NA | NA | NA | NA | NA | NA |

Table 7.10: Electrical power of sanitation system

### Energy sources for water sources and wells

- Electrical Transformers

| Installation Location / Facility Name or Number | Facility Type Water/Sanitation | Transformer Code/Number | Input Voltage (Volts) | Output Voltage (Volts) | Transformer Capacity (KVA) | Total Load Equipment Capacity through Transformer (KW) | Current Status | Performance Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nakhah Field | Water/Wells | YNd11 | 400 | 11,000 | 750 | 358 | Excellent | Excellent |
|  |  | Dyn11 | 10,500 | 380 | 1,000 | 345 | Excellent | Excellent |
| Fulk Field | Water/Wells | YNd11 | 400 | 11,000 | 1,250 | 385 | Excellent | Excellent |
| Thula Field | Water/Wells | YNd11 | 400 | 11,000 | 750 | 357.5 | Excellent | Excellent |
|  |  | Dyn11 | 10,500 | 380 | 1,000 | 345 | Excellent | Excellent |
| Wuh Field | Water/Wells | YNd11 | 400 | 11,000 | 315 | 138 | Excellent | Excellent |
|  |  | Dyn11 | 10,500 | 380 | 315 | 133 | Excellent | Excellent |
| Zaman Field | Water/Wells | YNd11 | 400 | 11,000 | 500 | 297 | Excellent | Excellent |
|  |  | Dyn11 | 10,500 | 380 | 750 | 381.6 | Excellent | Excellent |

Table 7.11: Electrical transformers data

- Diesel generators

| Installation Location / Facility Name or Number | Facility Type Water/Sanitation | Generator Number or Code | Generator Type (Primary/Backup) | Service Life/Start Date | Model | Manufacturer | Generator Capacity (Kilovolt-Amperes) | Equipment or Units Loaded on the Generator | Total Load Capacity of Working Equipment via Generator (Kilowatts) | Current Status | Performance Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nakhah Station | Water/ Wells | CAT - 1000KVA | Primary | 2015/8 | CAT | American | 1000KVA | Well Pumps | 345 | Partially damaged | Out of Service. |
|  | Water/ Wells | CAT - 1100KVA | Primary | 2018/9 | CAT | American | 1100KVA | Well Pumps | 345 | Excellent | Acceptable |
|  | Water/ Wells | PERKINS- 650KVA | Backup | 2000/2 | PERKINS | English | 650KVA | Solar Operation | 265 | Excellent | Acceptable |
| Fulk Station | Water/ Wells | CAT - 1000KVA | Primary | 2015 | CAT | American | 1000KVA | Well Pumps | 372 | Excellent | Acceptable |
| Thulah Station | Water/ Wells | CAT- 500KVA | Backup | 2019 | CAT | American | 500KVA | Solar Operation | 130 | Partially damaged | Frequently Malfunctioning |
|  | Water/ Wells | PERKINS- 1100KVA | Primary | 2015 | PERKINS | English | 1100KVA | Well Pumps | 345 | Excellent | Acceptable |
| Fawwah Station | Water/ Wells | CAT 300KVA | Primary | 2019 | CAT | American | 300KVA | Well Pumps | 138 | Acceptable | Acceptable |
|  | Water/ Wells | CAT 300KVA | Primary | 2019 | CAT | American | 300KVA | Well Pumps | 138 | Acceptable | Acceptable |
| Zamzam Station | Water/ Wells | PERKINS- 650KVA | Primary | 2015 | PERKINS | English | 650KVA | Well Pumps | 286 | Acceptable | Acceptable |
|  | Water/ Wells | PERKINS- 1000KVA | Primary | 2020 |  |  |  | Well Pumps | 345 | Partially damaged | Out of Service. |

Table 7.12: Diesel generators data

- Solar system

| Statement | Facility Type (Water/ Sanitation) | Solar Energy System Code | Solar Energy System Type (Single Source/Works with Another Source (Generator/Public Electricity)) | Service Duration/ Operation Date | Total Capacity of Solar Energy System (kW) | Total Capacity of Equipment Loads Powered by Solar Energy (kW) | Inverter Capacity (kW) | Current Condition | Performance Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Neqea Water Field / Al-Mukalla | Groundwater Wells Field | Solar energy system for (12) groundwater wells | Works with another source (Generator/Public Electricity) | 10/31/2019 | 561 | 272 | 30 KW (11) 75 KW (1) | Excellent | Excellent |
| Thala Water Field / Al-Mukalla | Groundwater Wells Field | Solar power generation station | Hybrid station operating on electricity and a generator | 11/30/2020 | 537.2 | 344.5 | 55 KW (10) | Excellent | Excellent |
| Adhba Water Field / Ghayl Bawazeer | Water Well | Solar energy system for Well A13 in Adhba | Works with another source (Generator/Public Electricity) | 6/1/2022 | 52.08 | 35 | 55 KW | Excellent | Excellent |

Table 7.13: Solar system data

### Operational data of the LC energy generation station

The operational data for diesel generators linked to water and sanitation facilities reveals notable points:

- Generator Status:

The Al-Nuqeah field generator was inactive in 2021 and 2022.

The Thalh field generator was marked as "Out of Service" during reported years.

- Power Generation:

In 2018, the Al-Nuqeah field generator produced 519,191 kWh.

The Thalh field generator operated during reported years but faced periods of inactivity.

- Fuel Consumption:

The Al-Nuqeah field generator consumed 203,118 liters of diesel in 2018.

The Thalh field generator consumed 306,770 liters of diesel in 2019.

- Availability:

Instances of inactivity were observed, notably for the Al-Nuqeah field generator.

- Installation Locations:

Generators are associated with diverse water and sanitation facilities, encompassing wells, treatment plants, and pumping stations

### Energy consumption data

The table below summarizes the electricity and Diesel consumption for 2022 compared to 2018 situation:

| Energy Source | Description | Unit | 2018 Quantity | 2022 Quantity | Change (%) |
| --- | --- | --- | --- | --- | --- |
| Public Electricity Supply | Water Pumped or Treated | m³ | 10,241,138 | 9,320,539 | -9.88 |
|  | Total Electricity Consumed | kWh | 5,848,756 | 4,395,826 | -33 |
|  | Cost of Electricity Consumption | YER | 175,462,680 | 439,582,600 | 60 |
| Diesel Generators | Water Pumped or Treated | m³ | 3,999,745 | 8,178,644 | 51 |
|  | Diesel Consumption | Liters | 841,260 | 2,451,252 | 65.7 |
|  | Diesel Cost | YER | 673,008,000 | 1,961,001,600 | 65.7 |
| Private Sector Electricity | Water Pumped or Treated | m³ | 0 | 0 | - |

Table 7.14: Energy consumption for 2017 and 2022

### Quantities of diesel supplied to and consumed from the storage facilities

| Description | Unit | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total Diesel Supplied to Storage | Liters | 841,260 | 841,260 | 4,543,574 | 4,298,427 | 6,553,016 | 4,481,252 |
| Total Cost of Diesel Supplied to Storage | Riyals | 696,000 | 696,000 | 2,366,110,400 | 2,280,696,000 | 3,928,682,400 | 1,624,696,000 |
| Diesel Purchased from Internal Revenues | Liters | 0 | 0 | 0 | 0 | 0 | 280,000 |
| Cost of Self-Purchased Diesel | Riyals | 0 | 0 | 0 | 0 | 0 | 224,000,000 |
| Diesel Supplied with Humanitarian Aid | Liters | 0 | 0 | 2,956,768 | 2,850,000 | 4,909,983 | 1,750,000 |
| Cost of Humanitarian-Aid Supplied Diesel | Riyals | 0 | 0 | 2,365,414,400 | 2,280,000,000 | 3,927,986,400 | 1,400,000,000 |
| Diesel Withdrawn for Electricity Generation | Liters | 841,260 | 841,260 | 1,586,806 | 1,448,427 | 1,643,033 | 2,451,252 |
| Diesel Withdrawn for Sewage Transportation and Treatment | Liters | 696,000 | 696,000 | 696,000 | 696,000 | 696,000 | 696,000 |

Table 7.15: Quantities of diesel supplied to and consumed from the storage facilities for the years 2017 to 2022

The requirements for improvement and expansion of the needed energy sources for both the water and sanitation systems are illustrated in Appendix A-7.

# Technical Assessment (TA) and Investment Plans

## Recommendations and Costs for TA Measures (TA Plan)

### Methodology and Structure of TA Plan

The assessment on the institutional situation of LC Al-Mukalla with the water and sanitation condition of selected public institutions led to the conclusions and recommendations summarized in the tables below and the Technical Assistance Plan. The “Shortcomings” in the tables below provide an overview of the identified problems the LC is facing. The “Recommendations” next to the “Shortcomings” explain the proposed measures in order to remedy the problems. For those recommendations where external support is required, reference is made to the respective TA package. The period for the realization of the respective recommended activities is in the “Implementation” column which refers to the urgency criteria outlined in the questionnaires as follows:

1 - Urgent: no time frame; measures to be implemented as soon as possible

2 - High: to be implemented within 1-2 years

3 - Medium: to be implemented within 3-5 years

4 - Low: to be implemented as long-term planning more than 5 years for development.

The estimated costs for the proposed six TA packages are presented in Table 8.2.

### TA measures

Institutional Assessment and Recommended Technical Assistance Measures (TA Plan) for LC Al-Mukalla

The identified shortcomings and respective recommendations for post crisis scenario can be summarized as follows.

| Department | Obstacles | Recommendations | Implementation |
| --- | --- | --- | --- |
| Governance/ Management/ Organizational structure/ Resilience | Meetings and Decision Monitoring: Coordination and follow-up on Board of Directors/Advisory Committee decisions is a pressing issue. The lack of resources hinders effective implementation of decisions. Internal Regulations and Rules Workflow and Data Flow Automation and Technology Use Inspection and Oversight: - The lack of staff qualification, inadequate wages for workers, and insufficient financial support. Internet Connectivity for Online Meetings and Training | Capacity building of management and BoD Regular meeting and coordination between LC and BoD Implementing an automation system Improve workflow and data flow which rely on traditional methods such as mail and archive systems. The institution/branch should dedicate departments for both internal control and inspection, as well as external oversight through the Subscriber Management and Central Control and Accounting Department. | Urgent High Urgent Urgent Medium |
| Human resource and capacity building management | Delay in linking retirement pensions leads to delayed dues for contract employees and new hires. Institution needs new workforce for management and affiliated branches due to shortage caused by retirees. Financial constraints prevent the disbursement of incentives and employee entitlements. Shortage of offices, computers, printers, chairs, occupational safety tools, cars, and motorcycles in the transportation department. | Improving the recruitment process and increasing salaries Revising the incentive system and providing monthly cash incentives Offering regular training courses and promoting experience exchange Improving internet services and establishing an internal network for the institution | Urgent High High Urgent |
| Finance management | Suspension of government support and investment programs. Need for completing office automation. Need for training and qualifying the financial staff. The institution/branch does not have financial reserves or emergency funds There is no specific plan in place to identify projects | Training workshops were conducted for employees to enhance their financial management skills. Specialized training courses for both internal and external employees Establishing a network connection between financial administrative departments Training employees on various accounting systems, particularly in the accounts department, is included in the plan Develop a financial plan to organize and schedule expenditures. Ensure monthly closure of accounts without delay for all subsidiary systems linked to the accounting system. Conduct quarterly reconciliations with subsidiary systems for payroll, inventory, assets, and billing Prepare the estimated budget for the year 2024. | High High Urgent High High Urgent High Urgent |
| Customer service and relation management | Evaluation and improvement of the entire billing process, including meter reading, data entry, review, invoice issuance, and distribution. Need for enhancements in the collection process and effective monitoring of various types of debts. High priority for optimizing the delivery of services to subscribers. Attention required for issues related to subscriber meters and their operational status. Medium priority area for improving the flow of work processes and data exchange within the LC. Medium priority for enhancing planning and monitoring mechanisms to ensure efficient performance. Urgent need for implementing automation and modern technology in management operations and procedures. Low priority area focused on assessing and enhancing the qualifications and capabilities of employees involved in management | Qualifying technical staff from the Customer Management for installing large-sized meters for major consumers Network Connection between Centers and Collection Offices Raise the community awareness of the importance of paying the bills for water consumption. Policies and strategies of developing and strengthening the relationship between the LC/AU/Branch and the Consumers Implementing automated programs for procedures related to service requests in subscriber accounts. Developing automated programs for taking readings. Adding an input program for transfer transactions in the connection department, and training and qualifying department employees on it. Qualifying technical staff from the Technical Department and workshops specialists to analyze offers presented in tenders related to water meters to adjust specifications for quality and industry. | High High High High High High Urgent High |
| Water and Sanitation Service management | Shortage of equipment, emergency vehicles and assembly parts Operating system for wells and a GIS program | Establish GIS unit. Find the necessary support to complete the construction of the stalled wastewater treatment plant | High Urgent |
| IT infrastructure | Provide the branch with meter reading systems and link them to subscriber accounts. Provide the branch with quantity measurement devices and link them to the central computer. Absence of development plan of the IT Department and the used systems. Provide computers and printers for collection offices and link them to subscriber accounts. Provide the branch with any technological systems that contribute to performance improvement | Inclusive training of staff Capacity building for IT department IT management procedures and operations | High High High |
| Gender perspective | No specific conditions/criteria for the appointment of female employees. No specific conditions/criteria for the appointment of female employees in decision-making positions. No current mechanisms to ensure the participation of women in leadership positions in the institution/branch | Establish an office for the management of women that accommodates its departments, sections, and committees Create partnerships between women's departments in water institutions nationally and internationally for exchanging experiences and developing work for the benefit of women, the institution, and connecting them to international organizations. Integrate the department's structure and sections in line with the department's strategies and plans Allocate a room for the care of employees' children. | Critical High Medium Low |

Table 8.1: Obstacles and recommendations for institutional measures

### Awareness Building

For the use of aerobic reactor technology "Biogas," there is no interest from both women and girls due to societal awareness limitations and resource constraints. However, there is interest in the use of treated organic waste in fertilization, with the organization having a dedicated station for organic waste treatment. Regarding the reuse of treated sewage water for irrigation, there is limited interest among women, and the organization faces challenges due to the lack of transport systems.

Due to the ongoing crisis the international donor organizations suspended their support on awareness campaigns. In order to resume the training and education activities on water and sanitation issues, it is important to establish awareness committees. The committee should be formed of a selected group of 15 members to be trained by specialized Consultant who is experience in the preparation of awareness plans and holding of campaigns. The awareness interventions shall be discussed with the LC, the local council and possibly donor organizations involved in such activities.

The campaigns shall be in form of media announcement / publication, distribution of brochures and leaflets and workshop meetings at public institutions. The training and information brochures should cover the following subjects:

- Importance of rain water harvesting

- Water saving in households.

- Considered use of sanitation facilities regarding water saving and pollution.

- Personal hygiene, food and household hygiene, health issues.

- Education of children (for mothers) with regards to hygiene, considered water use, sanitation.

- Safe waste and wastewater disposal.

- Importance of water and sanitation service and related subjects

Individual campaigns shall be held for schools, women and marginalized families with respective visits to inform them on above themes. The committee shall consult the attendees obtain their opinion about the quality of water and sanitation services and how improvements can be achieved. The feedback of such campaigns has to be compiled and discussed with the LC and donor organization.

The performance of this committee shall be observed and evaluated by the Consultant. The impact of the awareness campaigns should be assessed according to the goals set to enable the identification of further additional or amended awareness measures.

### Technical Assistance Plan

The required TA support for the LC Al- Mukalla has been determined based on the outlined recommendations in above section. The respective needs for the improvement of the resilience of the LC have been grouped into the following four individual Technical Assistance Packages:

- TA Package 1: Financial Support

- TA Package 2: Training Courses

- TA Package 3: Office Equipment and IT

- TA Package 4: Coaching and Consultancy Services

- TA Package 5: Operation Management Support (OMS)

- TA Package 6: Public Relation and Awareness

Most of the recommended measures are proposed to be implemented as an integrated package and in parallel to strengthen the LC and increase their resilience within the next one to two years. Less pressing measures, as additional training courses, office/ IT equipment, further coaching and consultancy support, OMS and additional awareness campaigns, can be implemented within the next three to five years. These measures are less urgent but still important for the long-term development of the LC.

The following table summarizes the estimated cost for the TA packages:

| Package | TA intervention | Estimated TA cost in USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Urgent | High priority | Medium priority | Low priority |
|  |  | (0-6 months) | (1 -2 year) | (2-3 years) | (3-5 years) |
| TA1 | Financial Support | 50,000 | 0 | 0 | 0 |
| TA2 | Training Courses | 198,000 | 168,000 | 62,000 | 0 |
| TA3 | Office equipment and IT | 90,000 | 22,000 | 0 | 0 |
| TA4 | Coaching and Consultancy services | 60,000 | 140,000 | 30,000 | 0 |
| TA5 | Operation Management Support | 29,000 | 170,000 | 30,000 | 0 |
| TA6 | Public Relation and Awareness | 0 | 30,000 | 30,000 | 7,000 |
| Total TA cost: |  | 427,000 | 530,000 | 152,000 | 7,000 |

Table 8.2: Cost estimates on TA interventions

The total required amount for the technical assistance measures has been estimated to around USD 427,000 for critical priority intervention, USD 530,000 for high priority intervention, 152,000 for medium priority intervention and USD 7,000 for low priority interventions.

## Prioritized Investment Plan

Infrastructure Assessment and Recommended Rehabilitation Measures (Investment Plan) for LC Al-Mukalla

| Domains | Obstacles | Investment measures |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Urgent (0-6 months) | High priority (1-2 years) | Medium priority (3-5 years) | High priority (>5 years) |
| Building and Reservoirs | General Administration Building of the Local Water and Sanitation Authority needs completion protection works for water lines are needed building rooms for workers and generators are needed insufficient offices, guard rooms, warehouses, and tanks Old buildings need rehabilitations | Project for constructing a 12,000 cubic meter capacity tank in Boueish Rehabilitation of the branch building | Road Opening, Water Line, Site Leveling, Excavation, Building, Stone Base, Block Building, Concrete Works, Finishing Works, Electrical Works | Excavation, Building, Gabion Network Works Excavation, Building, Concrete Works Excavation and Filling Works, Building Works, Stone Base, Block Building, Concrete Works, Finishing Works | Excavation and Filling Works, Building Works, Stone Base, Block Building, Concrete Works, Finishing Works, Plumbing Works, Electrical Works |
| Water Resource, use and balance | Shortage in water supply Low yield of the wells Safety problems related to wells Insufficient information coming from wells | Drill a new monitoring well Construct reinforced concrete protection slab to safeguard the well from flash floods Field device for measuring acidity and alkalinity (p.H) and temperature for well water High-resolution water well camera with the ability to capture images up to a depth of 700 meters | Rehabilitate 10-inch diameter iron well casings with 8-inch plastic casings Water well sampling unit up to a depth of 150 meters Geophysical survey unit for determining electrical resistance (VES) working up to a depth of 700 meters | Drill a replacement well for well number | Ingersoll Rand (RD 20) water well drilling rig with all its accessories, including pipes, drilling heads, weights, and other necessary equipment for operating the rig |
| Water pipelines | Dilapidated water distribution network. Uncompleted rehabilitation of distribution networks | Supplying maintenance tools and equipment for the network Expanding and implementing new water networks for several regions Supply and installation of new meters, valves and replacement of existing ones Rehabilitation of the corroded Ductile water line | -Improvement project for the water network | - Improvement projects for the water network | - |
| Water Pumping/ lifting Stations | Insufficient pumping capacity | Supply and installation of several submersible pumps Pumps and motors Electrical transformers Electric generators | - |  | - |
| Water sterilization facilities | Lack of water sterilization equipment Lack of measuring kits for residual chlorine. | Providing Chlorine Powder Injection Pumps Providing Chlorination Unit Equipment DPD Free Residual Chlorine Test Kits Free Chlorine Measurement Devices |  | - | - |
| Power generating/auditing for water & wastewater system | Diesel power generator pumping station out of service and needs rehabilitation. Raise of Diesel prices. | Implementing Integrated system for energy generation (solar energy system) Supply and installation of generators, electrical networks, and furniture | Supply, transport, installation, and operation of 8 groundwater wells with solar energy | - | - |
| Operation and maintenance process of water infrastructures | Lack of transport vehicles. Lack of repair and maintenance tools for pipe works pump and motor works. Lack of tools and instruments for electrical works. Lack of trench excavation equipment. Lack of water meter maintenance workshop. | Provide a trucks, Backhoe, Double carb truck, cranes, Motocycles, Transport cars, large excavator and flatbed truck Buying safety tools |  | - | - |
| Wastewater collection/transportation pipelines | Lack of repair and maintenance tools for pipe works pump and motor works | Lifting Pump with Operation Panel and Spare Parts Set of mechanical seal Rotor and shaft of motor Maintenance Pipes for Sewage Network Supply and installation of plastic pipes + inspection chambers- | Rotor and shaft of motor Set of Bearing upper and lower Supply of Double Socket Swept Tees Maintenance of sewage networks | Lifting Pump with Operation Panel and Spare Parts | - |
| Wastewater treatment facilities | Lack of tools for operating wastewater facilities | Main Lifting Station Provide Electric Winch Provide Screening Equipment | - |  | - |
| Operation and maintenance process of wastewater facilities | Poor logistics for operation & maintenance | Buying Jetting Pump, Vacuum Pump, Backhoe Loader, Double-Cabin, Pickup Truck, Single-Cabin, Pickup Truck, Waste Transport Dumper, and Winch Truck (Crane) Safety tools |  | - | - |
| Water & wastewater Laboratories | Poor logistics for operation and limitations in consumables and chemicals Need for solar energy systems | Buying Fully furnishing for the laboratory (benches + office furniture), Ion Chromatography Device, Plasma Induction Device, Mobile Laboratory Car + Pickup Car, Chemicals for conducting drinking water tests , Digital Incubator, EC Measurement Device, Turbidity Measurement Device |  | - |  |

Table 8.3: Obstacles and recommendations for Infrastructure Assessment and Rehabilitation Measures

Investment needs

The identified measures have been prioritized according to feasibility and urgency in urgent measures, high priority, short-term and long-term measures grouped into 9 investment packages. The period indicates the proposed commencement of the investments, starting from 2024.

| Package | Measures | Urgent (0-6mths) (USD) | High priority (1-2 years) (USD) | Short-term (3-5 years) (USD) | Long-term (>5 years) (USD) | Total (USD) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2024 | 2024-2025 | 2025-2027 | >2027 |  |
| Package 1 | Civil Works on buildings and structures | 1,875,000 | 1,198,978 | 6,765,507 | 1,582,598 | 9,894,011 |
| Package 2 | Well rehabilitation and new construction | 1,467,800 | 1,189,300 | 1,937,820 | 1,000,000 | 5,594,920 |
| Package 3 | Water pumping station | 573,220 | 0 | 0 | 0 | 573,220 |
| Package 4 | Water network rehabilitation and extension | 17,971,788 | 3,513,113 | 2,771,998 | 0 | 24,256,899 |
| Package 5 | Wastewater collection, disposal and Treatment | 1,611,800 | 167,500 | 10,000 | 0 | 1,789,300 |
| Package 6 | Generators and spares, Electric materials and solar systems | 7,395,815 | 6,293,816 | 0 | 0 | 13,689,631 |
| Package 7 | Vehicles, machines, tools | 5,762,620 | 0 | 0 | 0 | 5,762,620 |
| Package 8 | Laboratory equipment | 667,000 | 1,636,045 | 0 | 0 | 2,303,045 |
| Package 9 | Water sterilization facilities | 550,926 | 0 | 0 | 0 | 550,926 |
| Total investment |  | 37,875,969 | 13,998,752 | 11,485,325 | 2,582,598 | 64,414,572 |

Table 8.4: Cost estimation on investment measures

The required estimated budget has been calculated for:

- Urgent measures:		37,875,969 USD

- High-priority measures:	13,998,752USD

- Short-term measures:	11,485,325 USD

- Long-term measure:		2,582,598 USD

The total needed amount for the rehabilitation, restoration and extension of the water and sanitation system, provision of solar systems and supply of required operation and maintenance materials has been estimated to about 64,414,572 USD for the next 5 years.

# Appendices

Details on Investment measures with cost estimation are given in Appendix A-7

https://en.wikipedia.org/wiki/Mukalla#Climate

Source: Appendix B-  Questionnaire A Forms, Form A-0

Source: Appendix B -Questionnaire A Forms, Form A-1 & A-2.1

Source: Appendix B -Questionnaire A Forms, Form A-2.2

Source: Appendix B -Questionnaire A Forms, Form A-3.1

Source : Appendix B - Questionnaire A Forms, Form A 4.1

Source : Appendix B - Questionnaire A Forms, Form A 4.2.7

Source: Appendix B-  Questionnaire A Forms, Form A 4.2

Source: Appendix B - Questionnaire A Forms, Form A 4.2.4

Source : Appendix B - Questionnaire A Forms, Form A 4.2.5

Source: Appendix B - Questionnaire B Forms,  Form 7.1

Source: Appendix B -  Questionnaire A Forms, Form 5.1

Source: Appendix B - Questionnaire A Forms, Form 5.2

Source: Appendix B - Questionnaire A Forms, Form 5.3

Source : Appendix B - Questionnaire A Forms, Form 6.1

Source: Appendix B-  Questionnaire Forms A, Form 7.1.2

Source: Appendix B- Questionnaire Forms A, Form 7.3

Source: Appendix B- Questionnaire Forms A, Form 7.4

Source: Appendix B - Questionnaire Forms A, Form 8.2

Source: Appendix B- Questionnaire Forms B, Form B-2.1

Source: Appendix B- Questionnaire Forms B, Form B-1.1

Source : Appendix B- Questionnaire B Forms, Form 2.1

Source: Appendix B- Questionnaire B Forms, Form 2.4

Source: Appendix B- Questionnaire B Forms, Form 2.5

Source: Appendix B- Questionnaire B Forms, Form 2.7

Source: Appendix B- Questionnaire Forms B, Form B-2.2.1

Source: Appendix B- Questionnaire B Forms, Form 2.3

Source: Appendix B - Questionnaire B Forms, Form 3.1

Source: Appendix B - Questionnaire B Forms, Form 3.2

Source: Appendix B - Questionnaire B Forms, Form 5.2

Source: Appendix B - Questionnaire B Forms, Form 4.1

Source: Appendix B - Questionnaire B Forms, Form 4.2

Source: Appendix B - Questionnaire B Forms, Form 4.3

Source: Appendix B - Questionnaire B Forms, Form 4.4